## Pond 1
Evaporation Pond Water Data for the Brackish Groundwater National Desalination Research Facility
Note: data before 2016 is visible by selecting hidden columns and choosing Unhide
Parameter Name | Reporting Units | [7 empty] | Pond-1
|  | CAS | DHL order | Report order | NMED Condition (if appl.) | Type (G=general, I=ion, M=metal, O=organic, R=radioactive, P=PFAS) | Human Health NPDWR/NSDWR MCL6 | NMAC 20.6.2.3103 8 | 2012-06-13 |  | 2012-11-06 |  | 2013-07-16 |  | 2013-11-19 |  | 2014-12-01 |  | 2015-06-09 |  | 2015-12-08 |  | 2016-06-28 |  | 2016-12-06 |  | 2017-06-20 |  | 2017-12-05 |  | 2018-06-05 |  | 2018-12-04 |  | 2019-06-24 |  | 16-Dec-19 |  | 7/27/2020 Pond Dry for Sludge Removal | 2020-11-02 |  | 2021-05-12 |  | 11/3/21 Pond Dry for Maintenance | 2022-06-22 |  | 14-Dec-22 | 22-Jun-23 |  | 02-Nov-23 |  | 14-Mar-24
General Chemistry |  |  | 1 | 1
Collection Time | hour |  | 2 | 2 |  | G |  |  | 1030 |  | 925 |  | 954 |  | 800 |  | 900 |  | 800 |  | 800 |  | 800 |  | 800 |  | 800 |  | 900 |  | 900 |  | 930 |  | 925 |  | 1025 |  |  | 1133 |  | 1120 |  |  | 1630 |  | 1100 | 0750 |  | 0835 |  | 0925
Water Temperature | Degrees C |  | 3 | 3 |  | G |  |  | 26.5 |  | 15.6 |  | 24.4 |  | 11.3 |  | 2.4 | N | 24.1 | N | 4.60 | N | 25.5 | N | 7.5 | N | 27.4 | N | 11.6 | N | 25.6 | N | 9.80 | N | 26.40 | N | 11.10 | N |  | 25.1 | N | 23.70 | N |  | 28.90 | N | 7.80 |  |  | 13.7 | N | 14.90 | N
Dissolved Oxygen 1 | mg/L |  | 4 | 4 |  | G |  |  | 6.45 |  |  | v | 6.54 |  | 6.7 | [5 empty] | 12.76 |  | 5.58 |  | 10.3 | N |  |  | 8.55 | N | 2.59 | N | 3.82 | N | 0.45 | N | 12.45 | N |  | 5.85 | N | 7.66 | N |  | 6.99 | N | OR |  |  | 9.38 | N | 9.74 | N
Alkalinity, Bicarbonate (as CaCO3) | mg/L CaCO3 |  | 5 | 5 |  | G
Alkalinity, Carbonate | mg/L CaCO3 |  | 6 | 6 |  | G
Alkalinity, Hydroxide | mg/L CaCO3 |  | 7 | 7 |  | G
Total Alkalinity (as CaCO3) | mg/L CaCO3 |  | 8 | 8 |  | G
P-Alkalinity (As CaCO3) mL of titrant | mL |  | 9 | 9 |  | G
pH – Aqueous | pH units |  | 10 | 10 |  | G | 6.5-8.5 | 6-9 | 8.27 | H | 8.48 | H | 8.62 | HX | 8.56 | HX | 8.41 |  | 8.49 |  | 9.10 |  | 8.52 |  | 8.47 |  | 8.53 |  | 8.27 |  | 8.56 |  | 8.48 |  | 7.88 |  | 8.91 |  |  | 7.65 |  | 8.99 |  |  | 8.87 | C | 8.81 | 8.91 |  | 9.00 |  | 9.06
pH (Field) | pH units |  | 170 | 11 | 24 | G | [45 empty] | 9.69 | N
Color | Color Units |  | 11 | 12 |  | G | 15
Specific Conductance | µmhos/cm |  | 12 | 13 |  | G | [14 empty] | 57000 |  | 81200 |  | 45500 |  | 97000 |  | 20700 |  | 186000 |  | 71600 |  | 562000 |  | 113000 |  |  | 458000 |  | 95500 |  |  | 81300 |  | 90200 | 67600 |  | 83000 |  | 53600
Conductivity (Field) | µmhos/cm |  | 174 | 14 |  | G
Bromide | mg/L |  | 13 | 15 |  | I
Chloride | mg/L |  | 14 | 16 | 23 | I | 250 | 250.0 | 7800 | X | 3300 | X | 5600 | X | 6700 |  | 5390 |  | 10800 |  | 8630 |  | 12900 |  | 9960 |  | 17700 |  | 3000 |  | 31600 |  | 10700 |  | 124000 |  | 19500 |  |  | 88800 |  | 16900 |  |  | 10700 |  | 17100 | 11200 |  | 11300 |  | 7170
Cyanide | mg/L | 57-12-5 | 15 | 17 | 24 | I | 0.2 | 0.2 |  | u |  | u |  | u |  | u |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  | U |  | U |  |  | CU |  |  | U |  | U |  | U
Fluoride | mg/L | 16984-48-8 | 16 | 18 | 23, 24 | I | 4.0/2.0 | 1.6 | 5.1 | X | 3 | Xv | 3.4 | Xv | 5.8 | X |  | U | 7.90 |  | 3.17 | J |  | U |  | U |  | U |  | U |  | U |  | U | 82.1 |  |  | U |  |  | U |  | U |  |  | U |  | 0.486 |  |  | U | 1.58 | J
Hardness, Total (as CaCO3) | mg/L |  | 17 | 19 |  | G
Langelier Saturation Index | SI |  | 18 | 20 |  | G
Nitrogen, Nitrate (as N) | mg/L |  | 19 | 21 |  | I | 10 | 10.0 | 3.4 | # |  | u |  | u |  | u |  | U |  | U | 0.152 | J |  | U | 2.26 | C |  | U | 6.44 |  |  | U |  | U |  | U |  | U |  |  | U |  | U |  |  | CU |  | 1.29 | J |  | U |  | U
Nitrate+Nitrite (as N) | mg/L | 14797-55-8 | 20 | 22 | 23 | I
Nitrogen, Nitrite (As N) | mg/L | 10102-44-0 | 21 | 23 |  | I | 1 | [45 empty] | U
Nitrogen, Ammonia | mg/L |  | 22 | 24 |  | I
Total Kjeldahl Nitrogen | mg/L |  | 169 | 25 | 23 | I | [45 empty] | 5.42
Perchlorate | mg/L |  | 23 | 26 |  | I
Phosphorus, Orthophosphate (as P) | mg/L |  | 24 | 27 |  | I
Phosphorus, Total (as P) | mg/L |  | 25 | 28 |  | I
Solids, Filterable Total Dissolved Solids | mg/L |  | 26 | 29 | 23 | G | 500 | 1000.0 | 34000 | X | 18500 | X | 30600 | X | 43200 | X | 24200 |  | 43700 |  | 44100 |  | 67400 |  | 32400 |  | 73000 |  | 17500 |  | 152000 |  | 53000 |  | 389000 |  | 80600 |  |  | 253000 |  | 79800 |  |  | 62300 | C | 74000 | 55800 |  | 63800 |  | 47000
Sulfate | mg/L |  | 27 | 30 |  | I | 250 | 600.0 | 23000 | X | 8900 | X | 18000 | X | 21000 | X | 9770 |  | 21200 |  | 17600 |  | 24400 |  | 14500 |  | 30200 |  | 7040 |  | 63200 |  | 20400 |  | 166000 |  | 29700 |  |  | 64600 |  | 33100 |  |  | 23400 |  | 33400 | 23600 |  | 28500 |  | 19200
Turbidity | NTU |  | 28 | 31 |  | G | 1-57
Metals and Major Cations |  |  | 29 | 32
Aluminum | mg/L |  | 30 | 33 | 24 | M | 0.05-0.2 | 5.0 |  | u | 0.011 | J | 0.035 | v | 0.19 | X | 0.0637 |  | 0.0321 |  | 0.0380 |  | 0.0269 | J | 0.0138 | J | 0.119 |  | 0.0117 | J | 0.0986 |  | 0.0190 | J |  | U | 0.0223 | J |  | 1.15 |  | 0.593 |  |  | 0.0151 | J | 0.0272 | 0.0336 |  | 0.0145 | J | 0.0344
Antimony | mg/L | 7440-36-0 | 165 | 34 | 24 | M | [40 empty] | 0.00174 |  | U |  | U |  | U
Arsenic | mg/L | 7440-38-2 | 31 | 35 | 24 | M | 0.01 | 0.1 | 0.012 | X | 0.0063 | v | 0.0076 | J | 0.018 | JX | 0.00452 | J | 0.00876 |  | 0.00745 |  | 0.0103 |  | 0.00495 | J | 0.00859 |  | 0.00251 | J | 0.0199 |  | 0.00547 |  | 0.0644 |  | 0.0124 |  |  | 0.0964 |  | 0.0177 |  |  | 0.0100 |  | 0.00719 | 0.00462 | J | 0.00526 |  | 0.00358 | J
Barium | mg/L | 7440-39-3 | 32 | 36 | 24 | M | 2 | 1.0 | 0.05 | v | 0.032 | v | 0.036 | v | 0.05 |  | 0.027 |  | 0.0427 |  | 0.0386 |  | 0.0511 |  | 0.0237 |  | 0.0340 |  | 0.0151 |  | 0.0498 |  | 0.0335 |  |  | U | 0.0361 |  |  | 0.0173 |  | 0.0298 |  |  | 0.0622 |  | 0.0344 | 0.0615 |  | 0.0638 |  | 0.0446
Beryllium | mg/L | 7440-41-7 | 166 | 37 | 24 | M | [42 empty] | U |  | U |  | U
Boron | mg/L |  | 33 | 38 | 24 | M |  | 0.75 | 4.5 | v | 2.4 | v | 4.1 | v | 6.2 |  | 1.94 |  | 4.82 |  | 4.18 |  | 5.77 |  | 2.63 |  | 5.68 |  | 1.63 |  | 12.6 |  | 4.56 |  | 48.8 |  | 7.62 |  |  | 38.4 |  | 5.94 |  |  | 4.13 |  | 3.83 | 3.16 |  | 4.16 |  | 2.78
Cadmium | mg/L | 7440-43-9 | 34 | 39 | 24 | M | 0.005 | 0.01 |  | u |  | u |  | u |  | u |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  | U |  | U |  |  | U |  |  | U |  | U |  | U
Calcium | mg/L |  | 35 | 40 |  | M
Chromium | mg/L | 7440-47-3 | 36 | 41 | 24 | M | 0.1 | 0.05 |  | u |  | u |  | u | 0.0027 | J |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  | U |  | U |  |  | U |  |  | U |  | U |  | U
Cobalt | mg/L |  | 37 | 42 | 24 | M |  | 0.05 | 0.006 | J | 0.0033 | J | 0.0059 | J | 0.006 |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | 0.00381 | J |  | U |  |  | U |  |  | U |  | U |  | U
Copper | mg/L |  | 38 | 43 | 24 | M | 1.3/1.0 | 1.0 | 0.083 | v |  | u |  | u |  | u |  | U |  | U |  | U |  | U |  | U | 0.00229 | J |  | U |  | U |  | U |  | U | 0.00869 | J |  | 0.0103 |  | 0.00448 | J |  | 0.00551 | J | 0.00345 |  | U |  | U |  | U
Iron (Dissolved) | mg/L |  | 39 | 44 | 24 | M | 0.3 | 1.0 | 0.016 | J | 0.014 | J | 0.011 | J |  | u | 0.0326 | J |  | U |  | U |  | U |  | U | 0.107 |  |  | U | 0.150 |  |  | U |  | U |  | U |  | 0.373 |  | 0.281 |  |  |  | U |  |  | U |  | U |  | U
Iron (Total) | mg/L |  | 40 | 45 | 24 | M | 0.3 | 1.0
Lead | mg/L | 7439-92-1 | 41 | 46 | 24 | M | 0.015 | 0.05 |  | u | 0.00023 | J |  | u | 0.00033 | J | 0.000304 | J |  | U | 0.000527 | J |  | U |  | U | 0.000434 | J |  | U | 0.000618 | J |  | U | 0.00187 | J | 0.00127 |  |  | 0.00404 | J | 0.00235 |  |  | 0.000554 | J | 0.00160 | 0.000684 | J |  | U |  | U
Magnesium | mg/L |  | 42 | 47 |  | M
Manganese (Dissolved) | mg/L |  | 43 | 48 | 24 | M | 0.05 | 0.2 | 0.012 | v | 0.0064 | v | 0.0091 | v | 0.0083 | J | 0.00979 | J | 0.0543 |  | 0.0126 |  | 0.0393 |  | 0.00638 | J | 0.0951 |  | 0.0116 |  | 0.242 |  | 0.0448 |  | 0.958 |  | 0.0476 |  |  | 0.288 |  | 0.0642 |  |  | 0.0197 |  | 0.0126 | 0.0515 |  | 0.0273 |  | 0.00979 | J
Manganese (Total) | mg/L |  | 44 | 49 | 24 | M | 0.05 | 0.2
Mercury (Total) | mg/L | 7439-97-6 | 45 | 50 | 24 | M | 0.002 | 0.002 | 4.5e-05 | J |  | u |  | u |  | u |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  | U |  | U |  |  | U |  |  | U |  | U |  | U
Molybdenum | mg/L |  | 46 | 51 | 24 | M |  | 1.0 | 0.1 | v | 0.052 | v | 0.055 | v | 0.084 |  | 0.0425 |  | 0.0483 |  | 0.0359 |  | 0.0460 |  | 0.0134 |  | 0.0233 |  | 0.00321 | J | 0.0665 |  | 0.00941 |  | 0.0746 |  | 0.0236 |  |  | 0.0753 |  | 0.0255 |  |  | 0.0891 |  | 0.110 | 0.0590 |  | 0.0502 |  | 0.0427
Nickel | mg/L |  | 47 | 52 | 24 | M |  | 0.2 |  | u |  | u | 0.0041 | J | 0.0052 | J |  | U |  | U |  | U |  | U |  | U |  | U |  | U | 0.00529 | J |  | U | 0.0176 | J | 0.00336 | J |  | 0.0257 |  | 0.00882 | J |  | 0.00405 | J | 0.00408 | 0.00398 | J | 0.00497 | J | 0.00416 | J
Potassium | mg/L |  | 48 | 53 |  | M
Selenium | mg/L | 7782-49-2 | 49 | 54 | 24 | M | 0.05 | 0.05 | 0.019 | v | 0.0092 | v | 0.02 | v | 0.045 | J |  | U | 0.00405 | J | 0.00733 |  | 0.0117 |  | 0.0109 |  | 0.0100 |  | 0.00688 |  | 0.0171 |  | 0.00570 |  | 0.0257 |  | 0.00611 |  |  | 0.0299 |  | 0.0210 |  |  | 0.00624 |  | 0.00973 | 0.0126 |  | 0.00828 |  | 0.00736
Silicon Dioxide | mg/L |  | 50 | 55 |  | M
Silver | mg/L | 7440-224 | 51 | 56 | 24 | M | 0.1 | 0.05 |  | u |  | u | 0.025 | J |  | u |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  | U |  | U |  |  | U |  |  | U |  | U |  | U
Sodium | mg/L |  | 52 | 57 |  | M
Strontium | mg/L |  | 53 | 58 |  | M
Thallium | mg/L | 7440-28-0 | 162 | 59 | 24 | M | [23 empty] | U |  |  |  | U |  |  |  | U |  |  | U |  |  |  |  | U |  |  | U |  | U |  | U
Uranium | mg/L | 7440-61-1 | 54 | 60 | 24 | M | 0.03 | 0.03 | 0.11 | X | 0.018 | v | 0.046 | X | 0.071 | X | 0.013 | N | 0.0314 | N | 0.0194 | JN | 0.0238 | JN | 0.0124 | N | 0.0173 | N | 0.0162 | N | 0.0865 | N | 0.0238 | N | 0.214 | N | 0.0278 | N |  | 0.107 | N | 0.0341 | N |  | 0.0323 | N | 0.0393 | 0.0348 | N | 0.0313 | N | 0.0284 | N
Zinc | mg/L |  | 55 | 61 | 24 | M | 5 | 10.0 | 0.021 | J | 0.016 | v | 0.015 | v | 0.017 |  | 0.0199 |  | 0.00248 | J | 0.00592 |  | 0.00545 |  |  | U | 0.0212 |  | 0.00758 |  | 0.00816 |  | 0.00905 |  | 0.0707 |  | 0.0298 |  |  | 0.0363 |  | 0.0399 |  |  | 0.0257 |  | 0.0243 | 0.0237 |  | 0.0188 |  | 0.00921
Radiology |  |  | 56 | 62
Gross Alpha | pCi/L |  | 57 | 63 |  | R | 15 | [21 empty] | 92.3 |  |  |  | -37.6 |  |  |  | 139 |  |  |  | U | [6 empty] | 1180 |  |  |  | 88.3 | J
Gross Alpha precision (±) | pCi/L |  | 58 | 64 |  | R | [22 empty] | 14.1 |  |  |  | 93.7 |  |  |  | 168 |  |  | 497 | [7 empty] | 327 |  |  |  | 116 | J
Radium-226 | pCi/L | 13982-63-3 | 59 | 65 |  | R | 5 | 30 (Radium 226 and 228) | [20 empty] | -0.0103
Radium-226 ± | pCi/L |  | 60 | 66 |  | R | [22 empty] | 0.354
Radium-228 | pCi/L | 15262-20-1 | 61 | 67 |  | R | 5 | 30 (Radium 226 and 228) | [20 empty] | 1.12
Radium-228 ± | pCi/L |  | 62 | 68 |  | R | [22 empty] | 0.422
Radon | pCi/L |  | 163 | 69 |  | R | [22 empty] | 8310
Radon ± | pCi/L |  | 164 | 70 |  | R | [22 empty] | 48.8
Organics |  |  | 63 | 71
Organic Carbon, Total | mg/L |  | 64 | 72 |  | O | [6 empty] | 52 | p
VOCs |  |  | 65 | 73
Benzene | µg/L | 71-43-2 | 66 | 74 |  | O | 5 | 10 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  | U | [7 empty] | CU
Bromodichloromethane | µg/L |  | 67 | 75 |  | O |  |  |  | u |  |  |  | u
Bromoform | µg/L |  | 68 | 76 |  | O |  |  | 1.3 | J |  |  |  | u
Bromomethane | µg/L |  | 69 | 77 |  | O |  |  | 2.3 | J |  |  |  | u
Carbon Tetrachloride | µg/L | 56-23-5 | 70 | 78 |  | O | 5 | 10 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  | U | [7 empty] | CU
Chlorobenzene | µg/L |  | 71 | 79 |  | O | 100 |  | 1.2 | J |  |  |  | u
Chloroethane | µg/L |  | 72 | 80 |  | O |  |  |  | u |  |  |  | u
2-Chloroethyl-vinyl ether | µg/L |  | 73 | 81 |  | O |  |  |  | u |  |  |  | u
Chloroform | µg/L | 67-66-3 | 74 | 82 |  | O |  | 100 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  | U | [7 empty] | CU
cis-1,2-DCE | µg/L | 156-59-2 | 75 | 83 |  | O | 70 |  |  | u |  |  |  | u
cis-1,3-Dichloropropene | µg/L |  | 76 | 84 |  | O |  |  |  | u |  |  |  | u
Dibromochloromethane | µg/L |  | 77 | 85 |  | O |  |  |  | u |  |  |  | u
1,2-Dichlorobenzene | µg/L | 95-50-1 | 78 | 86 |  | O | 600 |  |  | u |  |  |  | u
1,3-Dichlorobenzene | µg/L |  | 79 | 87 |  | O |  |  |  | u |  |  |  | u
1,4-Dichlorobenzene | µg/L | 106-46-7 | 80 | 88 |  | O | 75 |  |  | u |  |  |  | u
1,1-dichloroethane | µg/L | 75-34-3 | 81 | 89 |  | O |  | 25 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  | U | [7 empty] | CU
1,2-dichloroethane (EDC) | µg/L | 107-06-2 | 82 | 90 |  | O | 5 | 10 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  | U | [7 empty] | CU
1,1-dichloroethylene (1,1-DCE) 2 | µg/L | 75-35-4 | 83 | 91 |  | O | 7 | 5 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  | U | [7 empty] | CU
1,2-Dichloropropane | µg/L | 78-87-5 | 84 | 92 |  | O | 5 |  |  | u |  |  |  | u
1,4-dioxane1 | µg/L |  | 161 | 93 |  | O | [23 empty] | NU | [14 empty] | 0.180 | N |  | 0.0580 | N
Ethylbenzene | µg/L | 100-41-4 | 85 | 94 |  | O | 700 | 750 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  | U | [7 empty] | CU
Methylene Chloride (DCM) | µg/L | 75-09-2 | 86 | 95 |  | O | 5 | 100 | 2 | J |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  | U | [7 empty] | CU
1,1,2,2-tetrachloroethane | µg/L | 79-34-5 | 87 | 96 |  | O |  | 10 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  | U | [7 empty] | CU
1,1,2,2-tetrachloroethylene (PCE) 3 | µg/L | 127-18-4 | 88 | 97 |  | O |  | 20 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  | U | [7 empty] | CU
Toluene | µg/L | 108-88-3 | 89 | 98 |  | O | 1000 | 750 | 0.97 | J |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  | U | [7 empty] | CU
Total Xylenes | µg/L | 1330-20-7 | 90 | 99 |  | O | 10000 | 620 | 1.8 | J |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  | U | [7 empty] | CU
trans-1,2-Dichloroethene | µg/L | 156-60-5 | 91 | 100 |  | O | 100 |  |  | u |  |  |  | u
trans-1,3-Dichloropropene | µg/L |  | 92 | 101 |  | O |  |  |  | u |  |  |  | u
1,2,4-trichlorobenzene | µg/L | 120-82-1 | 168 | 102 | 25 | O | [42 empty] | CU |  |  |  | U
1,1,1-trichloroethane | µg/L | 71-55-6 | 93 | 103 |  | O | 200 | 60 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  | U | [7 empty] | CU
1,1,2-trichloroethane | µg/L | 79-00-5 | 94 | 104 |  | O | 5 | 10 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  | U | [7 empty] | CU
1,1,2-trichloroethylene (TCE) 4 | µg/L | 79-01-6 | 95 | 105 |  | O | 5 | 100 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  | U | [7 empty] | CU
Styrene | µg/L | 100-42-5 | 167 | 106 | 25 | O | [42 empty] | CU |  |  |  | U
Trichlorofluoromethane | µg/L |  | 96 | 107 |  | O |  |  |  | u |  |  |  | u
Vinyl Chloride | µg/L | 75-01-4 | 97 | 108 |  | O | 2 | 1 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  | U | [7 empty] | CU
Acrolein | µg/L |  | 98 | 109 |  | O |  |  |  | u |  |  |  | u
Acrylonitrile | µg/L |  | 99 | 110 |  | O |  |  |  | u |  |  |  | u
Volatiles |  |  | 100 | 111
Ethylene Dibromide (EDB) 5 | µg/L | 106-93-4 | 101 | 112 |  | O | 0.05 | 0.1 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  | U | [7 empty] | CU
Phenolics |  |  | 102 | 113
Phenols | µg/L |  | 103 | 114 |  | O |  | 5 |  | Hu |  |  |  | u |  |  |  | NU |  | NU |  | NU |  | NU |  | NU |  | NU |  | NU |  |  |  | NU |  |  |  | NU |  |  | NU | [7 empty] | NU
Parent Acetanilides |  |  | 104 | 115
PAHs: total naphthalene plus monomethylnaphthalenes | µg/L | 91-20-3 | 105 | 116 |  | O |  | 30
1-Methylnaphthalene | µg/L |  | 106 | 117 |  | O |  |  |  | u |  |  |  | u |  |  |  | NU |  | NU |  | NU |  | NU |  | NU |  | NU |  | NU |  |  |  | NU |  |  |  | NU |  |  | NU | [7 empty] | NU
2-Methylnaphthalene | µg/L |  | 107 | 118 |  | O |  |  |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  | U | [7 empty] | U
Naphthalene | µg/L |  | 108 | 119 |  | O |  |  |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U | 0.0253 | J |  | U |  | U |  |  |  | U |  |  |  | U |  |  | U | [7 empty] | U
Benzo-a-pyrene | µg/L | 50-32-8 | 109 | 120 |  | O | 0.2 | .7 | 0.037 | v |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  | U | [7 empty] | U
Synthetic Organics |  |  | 110 | 121
Di(2-Ethylhexyl)adipate | µg/L |  | 111 | 122 |  | O | 400
Hexachlorocyclopentadiene | µg/L |  | 112 | 123 |  | O | 50 | [6 empty] | u
Atrazine | µg/L | 1912-24-9 | 113 | 124 |  | O | 3 | [22 empty] | U |  |  |  | U |  |  |  | U |  |  | U | [7 empty] | U
Alachlor | µg/L |  | 114 | 125 |  | O | 2
Hexachlorobenzene | µg/L |  | 115 | 126 |  | O | 1 | [6 empty] | u
Di(2-ethylhexyl)phthalate | ug/l |  | 116 | 127 |  | O | 6
Simazine | µg/L |  | 117 | 128 |  | O | 4
Pesticides and PCBs |  |  | 118 | 129
4,4´-DDD | µg/L |  | 119 | 130 |  | O |  |  |  | u |  |  |  | u
4,4´-DDE | µg/L |  | 120 | 131 |  | O |  |  |  | u |  |  |  | u
4,4´-DDT | µg/L |  | 121 | 132 |  | O |  |  |  | u |  |  |  | u
Aldrin | µg/L |  | 122 | 133 |  | O |  |  |  | u |  |  |  | u
alpha-BHC | µg/L |  | 123 | 134 |  | O |  |  |  | u |  |  |  | u
Polychlorinated biphenyls (PCBs) | µg/L | 1336-36-3 | 124 | 135 |  | O | 0.5 | 1 |  | u |  |  |  | u |  |  |  | NU |  | NU |  | NU |  | NU |  | NU |  | NU |  | NU |  |  |  | U |  |  |  | U |  |  | U | [7 empty] | U
Aroclor 1016 | µg/L |  | 125 | 136 |  | O |  |  |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  | U | [7 empty] | U
Aroclor 1221 | µg/L |  | 126 | 137 |  | O |  |  |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  | U | [7 empty] | U
Aroclor 1232 | µg/L |  | 127 | 138 |  | O |  |  |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  | U | [7 empty] | U
Aroclor 1242 | µg/L |  | 128 | 139 |  | O |  |  |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  | U | [7 empty] | U
Aroclor 1248 | µg/L |  | 129 | 140 |  | O |  |  |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  | U | [7 empty] | U
Aroclor 1254 | µg/L |  | 130 | 141 |  | O |  |  |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  | U | [7 empty] | U
Aroclor 1260 | µg/L |  | 131 | 142 |  | O |  |  |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  | U | [7 empty] | U
beta-BHC | µg/L |  | 132 | 143 |  | O |  |  |  | u |  |  |  | u
Chlordane | µg/L |  | 133 | 144 |  | O | 2 |  |  | u |  |  |  | u
delta-BHC | µg/L |  | 134 | 145 |  | O |  |  |  | u |  |  |  | u
Dieldrin | µg/L |  | 135 | 146 |  | O |  |  |  | u |  |  |  | u
Endosulfan I | µg/L |  | 136 | 147 |  | O |  |  |  | u |  |  |  | u
Endosulfan II | µg/L |  | 137 | 148 |  | O |  |  |  | u |  |  |  | u
Endosulfan sulfate | µg/L |  | 138 | 149 |  | O |  |  |  | u |  |  |  | u
Endrin | µg/L |  | 139 | 150 |  | O | 2 |  |  | u |  |  |  | u
Endrin aldehyde | µg/L |  | 140 | 151 |  | O |  |  |  | u |  |  |  | u
Endrin Ketone | µg/L |  | 141 | 152 |  | O |  |  |  | u |  |  |  | u
gamma-BHC | µg/L |  | 142 | 153 |  | O | 0.2 |  |  | u |  |  |  | u
Heptachlor | µg/L |  | 143 | 154 |  | O | 0.4 |  |  | u |  |  |  | u
Heptachlor epoxide | µg/L |  | 144 | 155 |  | O | 0.2 |  |  | u |  |  |  | u
Methoxychlor | µg/L |  | 145 | 156 |  | O | 40 |  |  | u |  |  |  | u
Toxaphene | µg/L |  | 146 | 157 |  | O | 3 |  |  | u |  |  |  | u
Perfluorohexanoic Acid (PFHxA) | µg/L |  | 147 | 158 |  | P | [22 empty] | 0.0160 | N
Perfluoroheptanoic Acid (PFHpA) | µg/L |  | 148 | 159 |  | P | [22 empty] | 0.0310 | N
Perfluorooctanoic Acid (PFOA) | µg/L |  | 149 | 160 | 25 | P | [22 empty] | 0.490 | N |  |  |  |  | 1.50 | N | 1.00 | N |  | 1.10 | N | 0.700 | N |  | 0.890 | N | 0.850 |  | NU | 0.290 | N | 0.180 | N
Perfluorononanoic Acid (PFNA) | µg/L |  | 150 | 161 |  | P | [23 empty] | NU
Perfluorodecanoic Acid (PFDA) | µg/L |  | 151 | 162 |  | P | [23 empty] | NU
Perfluoroundecanoic Acid (PFUnA) | µg/L |  | 152 | 163 |  | P | [23 empty] | NU
Perfluorododecanoic Acid (PFDoA) | µg/L |  | 153 | 164 |  | P | [23 empty] | NU
Perfluorotridecanoic Acid (PFTrDA) | µg/L |  | 154 | 165 |  | P | [23 empty] | NU
Perfluorotetradecanoic Acid (PFTA) | µg/L |  | 155 | 166 |  | P | [23 empty] | NU
Perfluorobutanesulfonic Acid (PFBS) - prior to 2024 | µg/L |  | 156 & 172 | 167 & 171 |  | P | [22 empty] | 0.00650 | N | [21 empty] | 0.00970 | N
Perfluorohexanesulfonic Acid (PFHxS) | µg/L |  | 157 | 168 | 25 | P | [22 empty] | 0.0660 | N | [6 empty] | 0.140 | N |  | 0.190 | N | 0.0450 | N |  | 0.0660 | N | 0.170 |  | NU | 0.0680 | N | 0.0400 | N
Perfluorooctanesulfonic Acid (PFOS) | µg/L |  | 158 | 169 | 25 | P | [22 empty] | 0.0270 | N |  |  |  |  | 0.0250 | N | 0.0490 | N |  | 0.0590 | N | 0.0230 | N |  | 0.0770 | N | 0.0590 |  | NU | 0.0340 | N | 0.0280 | N
Perfluorononanoic acid (PFNA) | µg/L |  | 171 | 170 |  | P | [46 empty] | NU
Perfluorobutanesulfonic acid (PFBS) | µg/L |  | 172 | 171 |  | P | [45 empty] | 0.00970 | N
Hexafluoropropylene oxide dimer acid (HFPO-DA/GenX) | µg/L |  | 173 | 172 |  | P | [46 empty] | NU
N-methyl perfluorooctane-sulfonamidoacetic Acid (NMeFOSAA) | µg/L |  | 159 | 173 |  | P | [23 empty] | NU
N-ethyl perfluorooctane-sulfonamidoacetic Acid (NEtFOSAA) | µg/L |  | 160 | 174 |  | P | [23 empty] | NU
Nomenclature:
u or U = concentration not detected at reporting limit
J = analyte detected below quantification limit
v = verified concentration
Z = Not Defined, or Zero
H = Holding times for preparation or analysis exceeded
X = Value exceeds maximum contaminant level
E = Value above quantitation range
# = Nitrate sample arrived at lab past holding time. Value from Nitrate+Nitrite analysis were substituted for Nitrate values because Nitrite was expected to be below detection.
N = Parameter not NELAC certified.
C = Sample result or QC discussed in the case narrative.
Footnotes:
1The Dissolved Oxygen analyses were performed by the staff of the Brackish Groundwater National Desalination Research Facility using a government-owned test kit and following the recommended procedures provided by Tetra Tech. Test results are included in this report.
2 1,1-Dichloroethene (International Union of Pure and Applied Chemistry (IUPAC) nomenclature)
3 Tetrachloroethene (International Union of Pure and Applied Chemistry (IUPAC) nomenclature)
4 Trichloroethene (International Union of Pure and Applied Chemistry (IUPAC) nomenclature)
5 1,2-Dibromoethane (International Union of Pure and Applied Chemistry (IUPAC) nomenclature)
6 NPDWS: National Primary Drinking Water Standards. NSDWS: National Secondary Drinking Water Standards. MCL: Maximum Contaminant Level
7 NPDWS states that for systems that use conventional or direct filtration, at no time can turbidity go above 1 NTU, and samples for turbidity must be less than or equal to 0.3 NTU in at least 95% of samples per month. Systems that use filtration other than conventional or direct filtration must follow state limits, which must include turbidity at no time exceeding 5 NTU.
8 New Mexico Administrate Code (NMAC) 20.6.2.3103 for ground water of 10,000 mg/l TDS or less.
Notes:
1. Analytes which were not requested and not analyzed for the sampling date are highlighted in dark gray.
2. Analyte concentrations exceeding NPDWS and NSDWS standards are underlined and in red font.
3. Analyte concentrations exceeding NMAC 20.6.2.3103 standards are highlighted in yellow.
4. Data from 3/15/2011 to 11/18/2013 obtained from Hall Environmental Analysis Laboratory in Albuquerque, New Mexico.
5. Data from 12/1/2015 and following obtained from DHL Analytical in Round Rock, Texas.
Notes Regarding Langelier Saturation Index (LSI):
1. The Langelier Saturation Index (sometimes Langelier Stability Index) is a calculated number used to predict the calcium carbonate stability of water. It indicates whether the water will precipitate, dissolve, or be in equilibrium with calcium carbonate. In 1936, Wilfred Langelier developed a method for predicting the pH at which water is saturated in calcium carbonate (called pHs). The LSI is expressed as the difference between the actual system pH and the saturation pH:
LSI = pH (measured) - pHs
For LSI > 0, water is super saturated and tends to precipitate a scale layer of CaCO3.
For LSI = 0, water is saturated (in equilibrium) with CaCO3. A scale layer of CaCO3 is neither precipitated nor dissolved.
For LSI < 0, water is under saturated and tends to dissolve solid CaCO3.
2. If the actual pH of the water is below the calculated saturation pH, the LSI is negative and the water has a very limited scaling potential. If the actual pH exceeds pHs, the LSI is positive, and being supersaturated with CaCO3, the water has a tendency to form scale. At increasing positive index values, the scaling potential increases.
3. In practice, water with an LSI between -0.5 and +0.5 will not display enhanced mineral dissolving or scale forming properties. Water with an LSI below -0.5 tends to exhibit noticeably increased dissolving abilities while water with an LSI above +0.5 tends to exhibit noticeably increased scale forming properties.
4. It is also worth noting that the LSI is temperature sensitive. The LSI becomes more positive as the water temperature increases. This has particular implications in situations where well water is used. The temperature of the water when it first exits the well is often significantly lower than the temperature inside the building served by the well or at the laboratory where the LSI measurement is made. This increase in temperature can cause scaling, especially in cases such as hot water heaters. Conversely, systems that reduce water temperature will have less scaling.

## Pond 2
Evaporation Pond Water Data for the Brackish Groundwater National Desalination Research Facility
Note: data before 2016 is visible by selecting hidden columns and choosing Unhide
Parameter Name | Reporting Units | [7 empty] | Pond-2
|  | CAS | DHL order | Report order | NMED Condition (if appl.) | Type (G=general, I=ion, M=metal, O=organic, R=radioactive, P=PFAS) | Human Health NPDWR/NSDWR MCL6 | NMAC 20.6.2.3103 8 | 2012-06-13 |  | 2012-11-06 |  | 2013-07-16 |  | 2013-11-19 |  | 2014-12-01 |  | 2015-06-09 |  | 2015-12-08 |  | 2016-06-28 |  | 2016-12-06 |  | 2017-06-20 |  | 2017-12-05 |  | 2018-06-05 |  | 2018-12-04 |  | 2019-06-24 |  | 16-Dec-19 |  | 27-Jul-20 |  | 11/2/2020 Pond Dry for Sludge Removal | 5/12/2021 Pond Dry for Sludge Removal | 03-Nov-21 |  | 2022-06-02 |  | 14-Dec-22 |  | 22-Jun-23 |  | 02-Nov-23 |  | 14-Mar-24
General Chemistry |  |  | 1 | 1
Collection Time | hour |  | 2 | 2 |  | G |  |  | 1049 |  | 945 |  | 1010 |  | 900 |  | 930 |  | 900 |  | 900 |  | 830 |  | 830 |  | 830 |  | 930 |  | 930 |  | 1000 |  | 927 |  | 1058 |  | 915 |  |  |  | 1015 |  | 1640 |  | 1030 |  | 0730 |  | 0825 |  | 0940
Water Temperature | Degrees C |  | 3 | 3 |  | G |  |  | 28.7 |  | 14.5 |  | 27.1 |  | 11.2 |  | 7.3 | N | 23.3 | N | 4.40 | N | 26.2 | N | 6.6 | N | 26.1 | N | 10.1 | N | 24.2 | N | 9.70 | N | 24.20 | N | 9.20 | N |  |  |  |  | 16.50 | N | 30.20 | N | 6.80 | N |  |  | 14.9 | N | 23.10 | N
Dissolved Oxygen 1 | mg/L |  | 4 | 4 |  | G |  |  | 6.18 |  | 8.95 |  | 4.87 |  | 6.46 | [5 empty] | 9.72 |  | 6.42 |  | 9.97 | N |  |  | 8.84 | N | 1.36 | N | 2.17 | N | 6.71 | N | 5.48 | N |  |  |  |  | 8.99 | N | 7.30 | N | OR | N |  |  | 9.32 | N | 7.62 | N
Alkalinity, Bicarbonate (as CaCO3) | mg/L CaCO3 |  | 5 | 5 |  | G
Alkalinity, Carbonate | mg/L CaCO3 |  | 6 | 6 |  | G
Alkalinity, Hydroxide | mg/L CaCO3 |  | 7 | 7 |  | G
Total Alkalinity (as CaCO3) | mg/L CaCO3 |  | 8 | 8 |  | G
P-Alkalinity (As CaCO3) mL of titrant | mL |  | 9 | 9 |  | G
pH – Aqueous | pH units |  | 10 | 10 |  | G | 6.5-8.5 | 6-9 | 8.2 | H | 8.6 | HX | 8.52 | HX | 8.55 | HX | 8.64 |  | 8.49 |  | 8.36 |  | 8.42 |  | 8.28 |  | 8.46 |  | 8.09 |  | 9.14 |  | 8.73 |  | 7.30 |  | 8.84 |  | 8.79 |  |  |  | 8.62 |  | 8.90 | C | 8.94 |  | 8.55 |  | 8.56 |  | 8.77
pH (Field) |  |  | 170 | 11 | 24 | G | [46 empty] | 9.80 | N
Color | Color Units |  | 11 | 12 |  | G | 15
Specific Conductance | µmhos/cm |  | 12 | 13 |  | G | [14 empty] | 18800 |  | 18900 |  | 21700 |  | 35500 |  | 9090 |  | 55600 |  | 25200 |  | 60900 |  | 57400 |  | 140000 |  |  |  | 49900 |  | 56400 |  | 79100 |  | 107000 |  | 70800 |  | 57000
Conductivity (Field) |  |  | 174 | 14 |  | G
Bromide | mg/L |  | 13 | 15 |  | I
Chloride | mg/L |  | 14 | 16 | 23 | I | 250 | 250.0 | 1500 | X | 17000 | X | 16000 | X | 20000 | X | 12200 |  | 2310 |  | 2030 |  | 2490 |  | 2940 |  | 5430 |  | 1050 |  | 7390 |  | 3700 |  | 9000 |  | 6590 |  | 21300 |  |  |  | 8530 |  | 8800 |  | 15100 |  | 21300 |  | 10400 |  | 8830
Cyanide | mg/L | 57-12-5 | 15 | 17 | 24 | I | 0.2 | 0.2 |  | u |  | u |  | u |  | u |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  | CU |  | U |  | U |  | U |  | U
Fluoride | mg/L | 16984-48-8 | 16 | 18 | 23, 24 | I | 4.0/2.0 | 1.6 | 1.2 | J | 2.4 | Xv | 5.8 | X | 9.8 | X |  | U | 3.10 |  | 2.82 |  |  | U | 2.39 |  |  | U |  | U |  | U | 3.42 | J | 10.6 |  | 1.40 | J |  | U |  |  |  | U | 1.16 | J |  | U |  | U | 1.85 | J | 1.88 | J
Hardness, Total (as CaCO3) | mg/L |  | 17 | 19 |  | G
Langelier Saturation Index | SI |  | 18 | 20 |  | G
Nitrogen, Nitrate (as N) | mg/L |  | 19 | 21 |  | I | 10 | 10.0 |  | Hu |  | u |  | u |  | u |  | U |  | U |  | U | 2.17 |  |  | CU | 0.969 |  | 8.52 |  |  | U |  | CU |  | U |  | U |  | U |  |  |  | U |  | CU |  | U |  | U |  | U |  | U
Nitrate+Nitrite (as N) | mg/L | 14797-55-8 | 20 | 22 | 23 | I
Nitrogen, Nitrite (As N) | mg/L | 10102-44-0 | 21 | 23 |  | I | 1 | [46 empty] | U
Nitrogen, Ammonia | mg/L |  | 22 | 24 |  | I
Total Kjeldahl Nitrogen |  |  | 169 | 25 | 23 | I | [46 empty] | 5.60
Perchlorate | mg/L |  | 23 | 26 |  | I
Phosphorus, Orthophosphate (as P) | mg/L |  | 24 | 27 |  | I
Phosphorus, Total (as P) | mg/L |  | 25 | 28 |  | I
Solids, Filterable Total Dissolved Solids | mg/L |  | 26 | 29 | 23 | G | 500 | 1000.0 | 5400 | X | 77100 | X | 59200 | X | 101000 | X | 57900 |  | 9660 |  | 13700 |  | 9240 |  | 15400 |  | 24100 |  | 8200 |  | 40100 |  | 21800 |  | 48700 |  | 42900 |  | 138000 |  |  |  | 39900 |  | 42100 | C | 59400 |  | 88200 |  | 55600 |  | 47000
Sulfate | mg/L |  | 27 | 30 |  | I | 250 | 600.0 | 2200 | X | 35000 | X | 31000 | X | 46000 | X | 26900 |  | 5350 |  | 6280 |  | 6890 |  | 7340 |  | 12600 |  | 3930 |  | 18200 |  | 9780 |  | 22800 |  | 18800 |  | 46400 |  |  |  | 15800 |  | 17000 |  | 26300 |  | 34800 |  | 22500 |  | 19900
Turbidity | NTU |  | 28 | 31 |  | G | 1-57
Metals and Major Cations |  |  | 29 | 32
Aluminum | mg/L |  | 30 | 33 | 24 | M | 0.05-0.2 | 5.0 | 0.027 | v |  | u | 0.039 | v |  | u | 0.025 | J | 0.0217 | J | 0.0301 |  | 0.0189 | J | 0.0143 | J | 0.0163 | J | 0.0102 | J | 0.0253 | J | 0.0132 | J | 0.0232 | J | 0.0366 |  | 0.0843 |  |  |  | 0.0559 |  | 0.0131 | J | 0.0285 | J | 0.0370 |  | 0.0315 |  | 0.0355
Antimony |  | 7440-36-0 | 165 | 34 | 24 | M | [41 empty] | U |  | U |  | U |  | U
Arsenic | mg/L | 7440-38-2 | 31 | 35 | 24 | M | 0.01 | 0.1 | 0.0016 | J | 0.027 | XH | 0.012 | X | 0.05 | JX | 0.0103 |  | 0.00397 | J | 0.00398 | J | 0.00330 | J | 0.00419 | J | 0.00527 |  |  | U | 0.0144 |  | 0.00672 |  | 0.0141 |  | 0.00904 |  | 0.0157 |  |  |  | 0.00425 | J | 0.00417 | J | 0.00500 | J | 0.00651 |  | 0.00712 |  | 0.00409 | J
Barium | mg/L | 7440-39-3 | 32 | 36 | 24 | M | 2 | 1.0 | 0.0063 | v | 0.07 | v | 0.029 | v | 0.037 |  | 0.0351 |  | 0.0362 |  | 0.0119 |  | 0.0148 |  | 0.0163 |  | 0.0257 |  | 0.0127 |  | 0.0462 |  | 0.0359 |  | 0.0875 |  | 0.0116 |  | 0.0704 |  |  |  | 0.0613 |  | 0.0621 |  | 0.0913 |  | 0.0736 |  | 0.0536 |  | 0.0440
Beryllium |  | 7440-41-7 | 166 | 37 | 24 | M | [41 empty] | U |  | U |  | U |  | U
Boron | mg/L |  | 33 | 38 | 24 | M |  | 0.75 | 0.78 | v | 9.6 | v | 7.6 | v | 11 |  | 5.47 |  | 1.22 |  | 1.65 |  | 1.27 |  | 1.66 |  | 3.08 |  | 0.809 |  | 3.78 |  | 2.29 |  | 4.20 |  | 3.63 |  | 10.3 |  |  |  | 3.10 |  | 3.14 |  | 3.95 |  | 6.18 |  | 4.21 |  | 3.48
Cadmium | mg/L | 7440-43-9 | 34 | 39 | 24 | M | 0.005 | 0.01 |  | u |  | u |  | u |  | u |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  | U |  | U |  | U |  | U |  | U
Calcium | mg/L |  | 35 | 40 |  | M
Chromium | mg/L | 7440-47-3 | 36 | 41 | 24 | M | 0.1 | 0.05 |  | u |  | u | 0.004 | J | 0.013 | J |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  | U |  | U |  | U |  | U |  | U
Cobalt | mg/L |  | 37 | 42 | 24 | M |  | 0.05 | 0.002 | J | 0.013 | J | 0.008 | J | 0.015 | J |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  | U |  | U |  | U |  | U |  | U
Copper | mg/L |  | 38 | 43 | 24 | M | 1.3/1.0 | 1.0 | 0.016 | v |  | u |  | u |  | u |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U | 0.00630 | J |  |  | 0.00334 | J | 0.00209 | J |  | U | 0.00286 | J | 0.00296 | J |  | U
Iron (Dissolved) | mg/L |  | 39 | 44 | 24 | M | 0.3 | 1.0 | 0.0036 | J | 0.019 | J |  | u |  | u |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U | 0.0382 | J |  | U |  | U | 0.0309 | J |  |  | 0.0474 | J |  | U |  | U |  | U |  | U |  | U
Iron (Total) | mg/L |  | 40 | 45 | 24 | M | 0.3 | 1.0
Lead | mg/L | 7439-92-1 | 41 | 46 | 24 | M | 0.015 | 0.05 |  | u |  | u |  | u |  | u |  | U |  | U |  | U |  | U |  | U |  | U |  | U | 0.000727 | J |  | U | 0.000422 | J |  | U | 0.00107 |  |  |  | 0.00112 |  | 0.000530 | J | 0.000358 | J | 0.000896 | J | 0.000527 | J | 0.000325 | J
Magnesium | mg/L |  | 42 | 47 |  | M
Manganese (Dissolved) | mg/L |  | 43 | 48 | 24 | M | 0.05 | 0.2 | 0.009 | v | 0.066 | XH | 0.044 | v | 0.02 |  | 0.0351 |  | 0.0345 |  | 0.0156 |  | 0.0138 |  | 0.0109 |  | 0.0744 |  | 0.00883 | J | 0.0337 |  | 0.0368 |  | 0.122 |  | 0.0454 |  | 0.0188 |  |  |  | 0.00716 | J | 0.0114 |  |  | U | 0.0447 |  | 0.0464 |  | 0.0273
Manganese (Total) | mg/L |  | 44 | 49 | 24 | M | 0.05 | 0.2
Mercury | mg/L | 7439-97-6 | 45 | 50 | 24 | M | 0.002 | 0.002 | 3.7e-05 | J |  | u |  | u |  | u |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  | U |  | U |  | U |  | U |  | U
Molybdenum | mg/L |  | 46 | 51 | 24 | M |  | 1.0 |  | u | 0.03 | J | 0.019 | v |  | u | 0.0409 |  | 0.0323 |  | 0.0211 |  | 0.00735 |  | 0.00831 |  | 0.00783 |  | 0.00266 | J | 0.00668 |  | 0.00218 | J | 0.0121 |  | 0.0524 |  | 0.0489 |  |  |  | 0.0539 |  | 0.0649 |  | 0.0714 |  | 0.0956 |  | 0.0628 |  | 0.0437
Nickel | mg/L |  | 47 | 52 | 24 | M |  | 0.2 |  | u |  | u | 0.0061 | J | 0.0091 | J |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U | 0.00382 | J | 0.00842 | J |  |  | 0.00467 | J | 0.00364 | J | 0.00329 | J | 0.00523 | J | 0.00457 | J |  | U
Potassium | mg/L |  | 48 | 53 |  | M
Selenium | mg/L | 7782-49-2 | 49 | 54 | 24 | M | 0.05 | 0.05 | 0.0034 | v | 0.041 | v | 0.03 | v | 0.098 | JX | 0.00513 |  |  | U |  | U | 0.00605 |  | 0.00333 | J | 0.00269 | J | 0.00526 |  | 0.0163 |  | 0.00578 |  | 0.00906 |  | 0.00317 | J | 0.00949 |  |  |  | 0.00310 | J | 0.00635 |  | 0.00498 | J | 0.00282 | J | 0.00430 | J |  | U
Silicon Dioxide | mg/L |  | 50 | 55 |  | M
Silver | mg/L | 7440-224 | 51 | 56 | 24 | M | 0.1 | 0.05 |  | u |  | u | 0.016 | J |  | u |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  | U |  | U |  | U |  | U |  | U
Sodium | mg/L |  | 52 | 57 |  | M
Strontium | mg/L |  | 53 | 58 |  | M
Thallium | mg/L | 7440-28-0 | 162 | 59 | 24 | M | [23 empty] | U |  |  |  | U |  |  |  | U | [5 empty] | U |  | U |  | U |  | U |  | U |  | U
Uranium | mg/L | 7440-61-1 | 54 | 60 | 24 | M | 0.03 | 0.03 | 0.0015 | J | 0.032 | XH | 0.035 | X | 0.04 | X | 0.0148 | N | 0.00749 | JN | 0.0110 | N | 0.0124 | JN | 0.00924 | JN | 0.00938 | JN | 0.0135 | N | 0.00762 | JN | 0.00869 | JN | 0.00804 | JN | 0.0368 | N | 0.0461 | N |  |  | 0.0188 | N | 0.0171 | N | 0.0211 | N | 0.0397 | N | 0.0310 | N | 0.0183 | N
Zinc | mg/L |  | 55 | 61 | 24 | M | 5 | 10.0 | 0.0042 | J | 0.023 | J | 0.023 | v | 0.032 | J | 0.00205 | J | 0.00223 | J |  | U | 0.00240 | J |  | U |  | U | 0.00670 |  | 0.0134 |  | 0.00475 | J | 0.0193 |  | 0.0151 |  | 0.0230 |  |  |  | 0.00872 |  | 0.00353 | J | 0.0211 |  | 0.00695 |  | 0.00950 |  | 0.00759
Radiology |  |  | 56 | 62
Gross Alpha | pCi/L |  | 57 | 63 |  | R | 15 | [21 empty] | 88.7 |  |  |  | 13.8 |  |  |  | 119 | [6 empty] | U |  |  |  |  | 2430 |  |  |  |  | U
Gross Alpha precision (±) | pCi/L |  | 58 | 64 |  | R | [22 empty] | 14.1 |  |  |  | 52.7 |  |  |  | 91.9 | [5 empty] | 85.8 | [5 empty] | 670 |  |  |  | 211 | J
Radium-226 | pCi/L | 13982-63-3 | 59 | 65 |  | R | 5 | 30 (Radium 226 and 228) | [20 empty] | 0.0475
Radium-226 ± | pCi/L |  | 60 | 66 |  | R | [22 empty] | 0.127
Radium-228 | pCi/L | 15262-20-1 | 61 | 67 |  | R | 5 | 30 (Radium 226 and 228) | [20 empty] | 0.687
Radium-228 ± | pCi/L |  | 62 | 68 |  | R | [22 empty] | 0.420
Radon | pCi/L |  | 163 | 69 |  | R | [22 empty] | 1620
Radon ± | pCi/L |  | 164 | 70 |  | R | [22 empty] | 23.9
Organics |  |  | 63 | 71
Organic Carbon, Total | mg/L |  | 64 | 72 |  | O | [6 empty] | 110 | p
VOCs |  |  | 65 | 73
Benzene | µg/L | 71-43-2 | 66 | 74 |  | O | 5 | 10 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U | [5 empty] | U | [5 empty] | U
Bromodichloromethane | µg/L |  | 67 | 75 |  | O |  |  |  | u |  |  |  | u
Bromoform | µg/L |  | 68 | 76 |  | O |  |  |  | u |  |  |  | u
Bromomethane | µg/L |  | 69 | 77 |  | O |  |  | 2.1 | J |  |  |  | u
Carbon Tetrachloride | µg/L | 56-23-5 | 70 | 78 |  | O | 5 | 10 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U | [5 empty] | U | [5 empty] | U
Chlorobenzene | µg/L |  | 71 | 79 |  | O | 100 |  | 1.2 | J |  |  |  | u
Chloroethane | µg/L |  | 72 | 80 |  | O |  |  |  | u |  |  |  | u
2-Chloroethyl-vinyl ether | µg/L |  | 73 | 81 |  | O |  |  |  | u |  |  |  | u
Chloroform | µg/L | 67-66-3 | 74 | 82 |  | O |  | 100 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U | [5 empty] | U | [5 empty] | U
cis-1,2-DCE | µg/L | 156-59-2 | 75 | 83 |  | O | 70 |  |  | u |  |  |  | u
cis-1,3-Dichloropropene | µg/L |  | 76 | 84 |  | O |  |  |  | u |  |  |  | u
Dibromochloromethane | µg/L |  | 77 | 85 |  | O |  |  |  | u |  |  |  | u
1,2-Dichlorobenzene | µg/L | 95-50-1 | 78 | 86 |  | O | 600 |  |  | u |  |  |  | u
1,3-Dichlorobenzene | µg/L |  | 79 | 87 |  | O |  |  |  | u |  |  |  | u
1,4-Dichlorobenzene | µg/L | 106-46-7 | 80 | 88 |  | O | 75 |  |  | u |  |  |  | u
1,1-dichloroethane | µg/L | 75-34-3 | 81 | 89 |  | O |  | 25 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U | [5 empty] | U | [5 empty] | U
1,2-dichloroethane (EDC) | µg/L | 107-06-2 | 82 | 90 |  | O | 5 | 10 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U | [5 empty] | U | [5 empty] | U
1,1-dichloroethylene (1,1-DCE) 2 | µg/L | 75-35-4 | 83 | 91 |  | O | 7 | 5 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U | [5 empty] | U | [5 empty] | U
1,2-Dichloropropane | µg/L | 78-87-5 | 84 | 92 |  | O | 5 |  |  | u |  |  |  | u
1,4-dioxane1 | µg/L |  | 161 | 93 |  | O | [23 empty] | NU | [15 empty] | NU |  |  |  | NU
Ethylbenzene | µg/L | 100-41-4 | 85 | 94 |  | O | 700 | 750 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U | [5 empty] | U | [5 empty] | U
Methylene Chloride (DCM) | µg/L | 75-09-2 | 86 | 95 |  | O | 5 | 100 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U | [5 empty] | U | [5 empty] | U
1,1,2,2-tetrachloroethane | µg/L | 79-34-5 | 87 | 96 |  | O |  | 10 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U | [5 empty] | U | [5 empty] | U
1,1,2,2-tetrachloroethylene (PCE) 3 | µg/L | 127-18-4 | 88 | 97 |  | O |  | 20 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U | [5 empty] | U | [5 empty] | U
Toluene | µg/L | 108-88-3 | 89 | 98 |  | O | 1000 | 750 | 1.1 | J |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U | [5 empty] | U | [5 empty] | U
Total Xylenes | µg/L | 1330-20-7 | 90 | 99 |  | O | 10000 | 620 | 1.8 | J |  |  |  | u |  |  |  | U | 0.000362 | J |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U | [5 empty] | U | [5 empty] | U
trans-1,2-Dichloroethene | µg/L | 156-60-5 | 91 | 100 |  | O | 100 |  | 0.15 | J |  |  |  | u
trans-1,3-Dichloropropene | µg/L |  | 92 | 101 |  | O |  |  |  | u |  |  |  | u
1,2,4-trichlorobenzene |  | 120-82-1 | 168 | 102 | 25 | O | [43 empty] | U |  |  |  | U
1,1,1-trichloroethane | µg/L | 71-55-6 | 93 | 103 |  | O | 200 | 60 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U | [5 empty] | U | [5 empty] | U
1,1,2-trichloroethane | µg/L | 79-00-5 | 94 | 104 |  | O | 5 | 10 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U | [5 empty] | U | [5 empty] | U
1,1,2-trichloroethylene (TCE) 4 | µg/L | 79-01-6 | 95 | 105 |  | O | 5 | 100 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U | [5 empty] | U | [5 empty] | U
Styrene |  | 100-42-5 | 167 | 106 | 25 | O | [43 empty] | U |  |  |  | U
Trichlorofluoromethane | µg/L |  | 96 | 107 |  | O |  |  |  | u |  |  |  | u
Vinyl Chloride | µg/L | 75-01-4 | 97 | 108 |  | O | 2 | 1 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U | [5 empty] | U | [5 empty] | U
Acrolein | µg/L |  | 98 | 109 |  | O |  |  |  | u |  |  |  | u
Acrylonitrile | µg/L |  | 99 | 110 |  | O |  |  |  | u |  |  |  | u
Volatiles |  |  | 100 | 111
Ethylene Dibromide (EDB) 5 | µg/L | 106-93-4 | 101 | 112 |  | O | 0.05 | 0.1 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U | [5 empty] | U | [5 empty] | U
Phenolics |  |  | 102 | 113
Phenols | µg/L |  | 103 | 114 |  | O |  | 5 |  | u |  |  |  | u |  |  |  | NU | 0.00121 | N |  | NU |  | NU |  | NU |  | NU |  | NU |  |  |  | NU |  |  |  | NU | [5 empty] | NU | [5 empty] | NU
Parent Acetanilides |  |  | 104 | 115
PAHs: total naphthalene plus monomethylnaphthalenes | µg/L | 91-20-3 | 105 | 116 |  | O |  | 30
1-Methylnaphthalene | µg/L |  | 106 | 117 |  | O |  |  |  | u |  |  |  | u |  |  |  | NU |  | NU |  | NU |  | NU |  | NU |  | NU |  | NU |  |  |  | NU |  |  |  | NU | [5 empty] | NU | [5 empty] | NU
2-Methylnaphthalene | µg/L |  | 107 | 118 |  | O |  |  |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U | [5 empty] | U | [5 empty] | U
Naphthalene | µg/L |  | 108 | 119 |  | O |  |  |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U | [5 empty] | U | [5 empty] | U
Benzo-a-pyrene | µg/L | 50-32-8 | 109 | 120 |  | O | 0.2 | .7 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U | [5 empty] | U | [5 empty] | U
Synthetic Organics |  |  | 110 | 121
Di(2-Ethylhexyl)adipate | µg/L |  | 111 | 122 |  | O | 400
Hexachlorocyclopentadiene | µg/L |  | 112 | 123 |  | O | 50 | [6 empty] | u
Atrazine | µg/L | 1912-24-9 | 113 | 124 |  | O | 3 | [22 empty] | U |  |  |  | U |  |  |  | U | [5 empty] | U | [5 empty] | U
Alachlor | µg/L |  | 114 | 125 |  | O | 2
Hexachlorobenzene | µg/L |  | 115 | 126 |  | O | 1 | [6 empty] | u
Di(2-ethylhexyl)phthalate | ug/l |  | 116 | 127 |  | O | 6
Simazine | µg/L |  | 117 | 128 |  | O | 4
Pesticides and PCBs |  |  | 118 | 129
4,4´-DDD | µg/L |  | 119 | 130 |  | O |  |  |  | u |  |  |  | u
4,4´-DDE | µg/L |  | 120 | 131 |  | O |  |  |  | u |  |  |  | u
4,4´-DDT | µg/L |  | 121 | 132 |  | O |  |  |  | u |  |  |  | u
Aldrin | µg/L |  | 122 | 133 |  | O |  |  |  | u |  |  |  | u
alpha-BHC | µg/L |  | 123 | 134 |  | O |  |  |  | u |  |  |  | u
Polychlorinated biphenyls (PCBs) | µg/L | 1336-36-3 | 124 | 135 |  | O | 0.5 | 1 |  | u |  |  |  | u |  |  |  | NU |  | NU |  | NU |  | NU |  | NU |  | NU |  | NU |  |  |  | U |  |  |  | U | [5 empty] | U | [5 empty] | U
Aroclor 1016 | µg/L |  | 125 | 136 |  | O |  |  |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U | [5 empty] | U | [5 empty] | U
Aroclor 1221 | µg/L |  | 126 | 137 |  | O |  |  |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U | [5 empty] | U | [5 empty] | U
Aroclor 1232 | µg/L |  | 127 | 138 |  | O |  |  |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U | [5 empty] | U | [5 empty] | U
Aroclor 1242 | µg/L |  | 128 | 139 |  | O |  |  |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U | [5 empty] | U | [5 empty] | U
Aroclor 1248 | µg/L |  | 129 | 140 |  | O |  |  |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U | [5 empty] | U | [5 empty] | U
Aroclor 1254 | µg/L |  | 130 | 141 |  | O |  |  |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U | [5 empty] | U | [5 empty] | U
Aroclor 1260 | µg/L |  | 131 | 142 |  | O |  |  |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U | [5 empty] | U | [5 empty] | U
beta-BHC | µg/L |  | 132 | 143 |  | O |  |  |  | u |  |  |  | u
Chlordane | µg/L |  | 133 | 144 |  | O | 2 |  |  | u |  |  |  | u
delta-BHC | µg/L |  | 134 | 145 |  | O |  |  |  | u |  |  |  | u
Dieldrin | µg/L |  | 135 | 146 |  | O |  |  |  | u |  |  |  | u
Endosulfan I | µg/L |  | 136 | 147 |  | O |  |  |  | u |  |  |  | u
Endosulfan II | µg/L |  | 137 | 148 |  | O |  |  |  | u |  |  |  | u
Endosulfan sulfate | µg/L |  | 138 | 149 |  | O |  |  |  | u |  |  |  | u
Endrin | µg/L |  | 139 | 150 |  | O | 2 |  |  | u |  |  |  | u
Endrin aldehyde | µg/L |  | 140 | 151 |  | O |  |  |  | u |  |  |  | u
Endrin Ketone | µg/L |  | 141 | 152 |  | O |  |  |  | u |  |  |  | u
gamma-BHC | µg/L |  | 142 | 153 |  | O | 0.2 |  |  | u |  |  |  | u
Heptachlor | µg/L |  | 143 | 154 |  | O | 0.4 |  |  | u |  |  |  | u
Heptachlor epoxide | µg/L |  | 144 | 155 |  | O | 0.2 |  |  | u |  |  |  | u
Methoxychlor | µg/L |  | 145 | 156 |  | O | 40 |  |  | u |  |  |  | u
Toxaphene | µg/L |  | 146 | 157 |  | O | 3 |  |  | u |  |  |  | u
Perfluorohexanoic Acid (PFHxA) | µg/L |  | 147 | 158 |  | P | [22 empty] | 0.00680 | N
Perfluoroheptanoic Acid (PFHpA) | µg/L |  | 148 | 159 |  | P | [22 empty] | 0.0100 | N
Perfluorooctanoic Acid (PFOA) | µg/L |  | 149 | 160 | 25 | P | [22 empty] | 0.220 | N |  |  |  |  | 1.80 | N | 0.940 | N | 1.50 | N |  |  | 0.320 | N | 0.370 | N | 0.420 | N | 0.360 | N | 0.280 | N | 0.230 | N
Perfluorononanoic Acid (PFNA) | µg/L |  | 150 | 161 |  | P | [23 empty] | NU
Perfluorodecanoic Acid (PFDA) | µg/L |  | 151 | 162 |  | P | [23 empty] | NU
Perfluoroundecanoic Acid (PFUnA) | µg/L |  | 152 | 163 |  | P | [23 empty] | NU
Perfluorododecanoic Acid (PFDoA) | µg/L |  | 153 | 164 |  | P | [23 empty] | NU
Perfluorotridecanoic Acid (PFTrDA) | µg/L |  | 154 | 165 |  | P | [23 empty] | NU
Perfluorotetradecanoic Acid (PFTA) | µg/L |  | 155 | 166 |  | P | [23 empty] | NU
Perfluorobutanesulfonic Acid (PFBS) | µg/L |  | 156 | 167 |  | P | [22 empty] | 0.00470 | N
Perfluorohexanesulfonic Acid (PFHxS) | µg/L |  | 157 | 168 | 25 | P | [22 empty] | 0.0220 | N | [6 empty] | 0.130 | N | 0.140 | N |  |  | 0.0370 | N | 0.0550 | N | 0.100 | N | 0.120 | N | 0.0640 | N | 0.0560 | N
Perfluorooctanesulfonic Acid (PFOS) | µg/L |  | 158 | 169 | 25 | P | [22 empty] | 0.0170 | N |  |  |  |  | 0.0410 | N | 0.0510 | N | 0.0430 | N |  |  | 0.0680 | N | 0.0280 | N | 0.0360 | N | 0.0390 | N | 0.0550 | N | 0.0340 | N
Perfluorononanoic acid |  |  | 171 | 170 |  | P | [47 empty] | NU
Perfluorobutanesulfonic acid |  |  | 172 | 171 |  | P | [46 empty] | 0.0170 | N
Hexafluoropropylene oxide dimer acid |  |  | 173 | 172 |  | P | [47 empty] | NU
N-methyl perfluorooctane-sulfonamidoacetic Acid (NMeFOSAA) | µg/L |  | 159 | 173 |  | P | [23 empty] | NU
N-ethyl perfluorooctane-sulfonamidoacetic Acid (NEtFOSAA) | µg/L |  | 160 | 174 |  | P | [23 empty] | NU
Nomenclature:
u or U = concentration not detected at reporting limit
J = analyte detected below quantification limit
v = verified concentration
Z = Not Defined, or Zero
H = Holding times for preparation or analysis exceeded
X = Value exceeds maximum contaminant level
E = Value above quantitation range
# = Nitrate sample arrived at lab past holding time. Value from Nitrate+Nitrite analysis were substituted for Nitrate values because Nitrite was expected to be below detection.
N = Parameter not NELAC certified.
C = Sample result or QC discussed in the case narrative.
Footnotes:
1The Dissolved Oxygen analyses were performed by the staff of the Brackish Groundwater National Desalination Research Facility using a government-owned test kit and following the recommended procedures provided by Tetra Tech. Test results are included in this report.
2 1,1-Dichloroethene (International Union of Pure and Applied Chemistry (IUPAC) nomenclature)
3 Tetrachloroethene (International Union of Pure and Applied Chemistry (IUPAC) nomenclature)
4 Trichloroethene (International Union of Pure and Applied Chemistry (IUPAC) nomenclature)
5 1,2-Dibromoethane (International Union of Pure and Applied Chemistry (IUPAC) nomenclature)
6 NPDWS: National Primary Drinking Water Standards. NSDWS: National Secondary Drinking Water Standards. MCL: Maximum Contaminant Level
7 NPDWS states that for systems that use conventional or direct filtration, at no time can turbidity go above 1 NTU, and samples for turbidity must be less than or equal to 0.3 NTU in at least 95% of samples per month. Systems that use filtration other than conventional or direct filtration must follow state limits, which must include turbidity at no time exceeding 5 NTU.
8 New Mexico Administrate Code (NMAC) 20.6.2.3103 for ground water of 10,000 mg/l TDS or less.
Notes:
1. Analytes which were not requested and not analyzed for the sampling date are highlighted in dark gray.
2. Analyte concentrations exceeding NPDWS and NSDWS standards are underlined and in red font.
3. Analyte concentrations exceeding NMAC 20.6.2.3103 standards are highlighted in yellow.
4. Data from 3/15/2011 to 11/18/2013 obtained from Hall Environmental Analysis Laboratory in Albuquerque, New Mexico.
5. Data from 12/1/2015 and following obtained from DHL Analytical in Round Rock, Texas.
Notes Regarding Langelier Saturation Index (LSI):
1. The Langelier Saturation Index (sometimes Langelier Stability Index) is a calculated number used to predict the calcium carbonate stability of water. It indicates whether the water will precipitate, dissolve, or be in equilibrium with calcium carbonate. In 1936, Wilfred Langelier developed a method for predicting the pH at which water is saturated in calcium carbonate (called pHs). The LSI is expressed as the difference between the actual system pH and the saturation pH:
LSI = pH (measured) - pHs
For LSI > 0, water is super saturated and tends to precipitate a scale layer of CaCO3.
For LSI = 0, water is saturated (in equilibrium) with CaCO3. A scale layer of CaCO3 is neither precipitated nor dissolved.
For LSI < 0, water is under saturated and tends to dissolve solid CaCO3.
2. If the actual pH of the water is below the calculated saturation pH, the LSI is negative and the water has a very limited scaling potential. If the actual pH exceeds pHs, the LSI is positive, and being supersaturated with CaCO3, the water has a tendency to form scale. At increasing positive index values, the scaling potential increases.
3. In practice, water with an LSI between -0.5 and +0.5 will not display enhanced mineral dissolving or scale forming properties. Water with an LSI below -0.5 tends to exhibit noticeably increased dissolving abilities while water with an LSI above +0.5 tends to exhibit noticeably increased scale forming properties.
4. It is also worth noting that the LSI is temperature sensitive. The LSI becomes more positive as the water temperature increases. This has particular implications in situations where well water is used. The temperature of the water when it first exits the well is often significantly lower than the temperature inside the building served by the well or at the laboratory where the LSI measurement is made. This increase in temperature can cause scaling, especially in cases such as hot water heaters. Conversely, systems that reduce water temperature will have less scaling.

## Pond 3
Evaporation Pond Water Data for the Brackish Groundwater National Desalination Research Facility
Note: data before 2016 is visible by selecting hidden columns and choosing Unhide
Parameter Name | Reporting Units | [8 empty] | Pond-3
|  | CAS | DHL order | Report order | NMED Condition (if appl.) | Type (G=general, I=ion, M=metal, O=organic, R=radioactive, P=PFAS) | Method Reference | Human Health NPDWR/NSDWR MCL6 | NMAC 20.6.2.3103 8 | 2012-06-13 |  | 2012-11-06 |  | 2013-07-16 |  | 2013-11-19 |  | 2014-12-01 |  | 2015-06-09 |  | 2015-12-08 |  | 2016-06-28 |  | 2016-12-06 |  | 2017-06-20 |  | 2017-12-05 |  | 2018-06-05 |  | 2018-12-04 |  | 2019-06-24 |  | 16-Dec-19 |  | 7/27/2020 Pond Dry for Sludge Removal | 11/2/2020 and 5/12/2021 Pond Dry for Sludge Removal | 03-Nov-21 |  | 2022-06-02 |  | 14-Dec-22 |  | 28-Jun-23 |  | 02-Nov-23 |  | 14-Mar-24
General Chemistry |  |  | 1 | 1
Collection Time | hour |  | 2 | 2 |  | G |  |  |  | 1107 |  | 1005 |  | 1035 |  | 1000 |  | 1000 |  | 1000 |  | 1000 |  | 900 |  | 900 |  | 900 |  | 1000 |  | 1000 |  | 1015 |  | 934 |  | 1148 |  |  |  | 1045 |  | 1700 |  | 1045 |  | 0845 |  | 0815 |  | 1000
Water Temperature | Degrees C |  | 3 | 3 |  | G |  |  |  | 27.4 |  | 14.5 |  | 26.3 |  | 11.2 |  | 3.3 | N | 22.8 | N | 6.00 | N | 24.7 | N | 6.2 | N | 25.1 | N | 11.2 | N | 24.1 | N | 8.90 | N | 30.30 | N | 8.30 | N |  |  | 17.40 | N | 33.20 | N | 7.20 | N |  |  | 12.0 | N | 26.70 | N
Dissolved Oxygen 1 | mg/L |  | 4 | 4 |  | G |  |  |  | 5.85 |  | 9.36 |  | 9.28 |  | 7.1 | [5 empty] | 10.52 |  | 5.68 |  | 10.73 | N |  |  | 9.14 | N | 3.20 | N | 10.6 | N | 6.64 | N | 7.44 | N |  |  | 9.25 | N | 6.59 | N | OR | N |  |  | 9.85 | N | 5.90 | N
Alkalinity, Bicarbonate (as CaCO3) | mg/L CaCO3 |  | 5 | 5 |  | G
Alkalinity, Carbonate | mg/L CaCO3 |  | 6 | 6 |  | G
Alkalinity, Hydroxide | mg/L CaCO3 |  | 7 | 7 |  | G
Total Alkalinity (as CaCO3) | mg/L CaCO3 |  | 8 | 8 |  | G
P-Alkalinity (As CaCO3) mL of titrant | mL |  | 9 | 9 |  | G
pH – Aqueous | pH units |  | 10 | 10 |  | G |  | 6.5-8.5 | 6-9 | 8.74 | HX | 8.52 | HX | 8.72 | HX | 8.83 | HX | 8.28 |  | 8.46 |  | 8.29 |  | 8.83 |  | 8.39 |  | 8.23 |  | 8.34 |  | 8.83 |  | 8.74 |  | 7.32 |  | 8.19 |  |  |  | 8.38 |  | 8.56 | C | 8.45 |  | 8.14 |  | 7.70 |  | 9.06
pH (Field) |  |  | 170 | 11 | 24 | G | [45 empty] | 9.12 | N
Color | Color Units |  | 11 | 12 |  | G |  | 15
Specific Conductance | µmhos/cm |  | 12 | 13 |  | G | [15 empty] | 19000 |  | 38800 |  | 24100 |  | 16900 |  | 19700 |  | 47000 |  | 27600 |  | 62100 |  | 27500 |  |  |  | 72100 |  | 77000 |  | 36400 |  | 19300 |  | 11800 |  | 27200
Conductivity (Field) |  |  | 174 | 14 |  | G
Bromide | mg/L |  | 13 | 15 |  | I
Chloride | mg/L |  | 14 | 16 | 23 | I |  | 250 | 250.0 | 8800 | X | 11000 | X | 15000 | X | 25000 |  | 11800 |  | 3590 |  | 2970 |  | 6510 |  | 3980 |  | 3390 |  | 3130 |  | 6860 |  | 3380 |  | 10800 |  | 2860 |  |  |  | 12500 |  | 12600 |  | 6580 |  | 2270 |  | 1970 |  | 3670
Cyanide | mg/L | 57-12-5 | 15 | 17 | 24 | I |  | 0.2 | 0.2 |  | u |  | u |  | u |  | u |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  | CU |  | U |  | U |  | U |  | U
Fluoride | mg/L | 16984-48-8 | 16 | 18 | 23, 24 | I |  | 4.0/2.0 | 1.6 | 3.4 | Xv | 2.8 | Xv | 3.3 | Xv | 3.2 | Xv |  | U | 3.00 |  | 1.83 |  |  | U |  | U |  | U |  | U | 7.34 |  | 4.20 |  | 11.2 |  | 1.39 | J |  |  |  | U |  | U | 1.27 | J |  | U |  | U | 1.15 | J
Hardness, Total (as CaCO3) | mg/L |  | 17 | 19 |  | G
Langelier Saturation Index | SI |  | 18 | 20 |  | G
Nitrogen, Nitrate (as N) | mg/L |  | 19 | 21 |  | I |  | 10 | 10.0 |  | u# |  | u |  | u |  | u |  | U |  | U |  | U |  | U | 0.447 | JC | 4.06 |  | 7.81 |  |  | U |  | U |  | U |  | U |  |  |  | U |  | CU |  | U |  | U |  | U |  | U
Nitrate+Nitrite (as N) | mg/L | 14797-55-8 | 20 | 22 | 23 | I
Nitrogen, Nitrite (As N) | mg/L | 10102-44-0 | 21 | 23 |  | I |  | 1 | [44 empty] | U
Nitrogen, Ammonia | mg/L |  | 22 | 24 |  | I
Total Kjeldahl Nitrogen |  |  | 169 | 25 | 23 | I | [45 empty] | 2.73
Perchlorate | mg/L |  | 23 | 26 |  | I
Phosphorus, Orthophosphate (as P) | mg/L |  | 24 | 27 |  | I
Phosphorus, Total (as P) | mg/L |  | 25 | 28 |  | I
Solids, Filterable Total Dissolved Solids | mg/L |  | 26 | 29 | 23 | G |  | 500 | 1000.0 | 47200 | X | 48600 | X | 27600 | X | 61000 | X | 33800 |  | 11000 |  | 13600 |  | 28700 |  | 17400 |  | 13900 |  | 16200 |  | 31800 |  | 18500 |  | 49300 |  | 18100 |  |  |  | 61100 |  | 59100 | C | 26500 |  | 14200 |  | 9720 |  | 19400
Sulfate | mg/L |  | 27 | 30 |  | I |  | 250 | 600.0 | 24000 | X | 31000 | X | 13000 | X | 21000 | X | 10500 |  | 4470 |  | 5140 |  | 10500 |  | 7030 |  | 5700 |  | 7080 |  | 14000 |  | 7350 |  | 21900 |  | 8700 |  |  |  | 25400 |  | 26600 |  | 12400 |  | 6720 |  | 3910 |  | 9170
Turbidity | NTU |  | 28 | 31 |  | G |  | 1-57
Metals and Major Cations |  |  | 29 | 32
Aluminum | mg/L |  | 30 | 33 | 24 | M |  | 0.05-0.2 | 5.0 |  | u |  | u | 0.029 | v |  | u | 0.0948 |  | 0.0201 | J | 0.0979 |  | 0.0245 | J | 0.0137 | J | 0.0484 |  | 0.0128 | J | 0.0207 | J | 0.0155 | J | 0.0430 |  | 0.0648 |  |  |  | 0.0741 |  | 0.0497 |  |  | U | 0.387 |  |  | U |  | U
Antimony |  | 7440-36-0 | 165 | 34 | 24 | M | [40 empty] | U |  | U |  | U |  | U
Arsenic | mg/L | 7440-38-2 | 31 | 35 | 24 | M |  | 0.01 | 0.1 | 0.013 | X | 0.013 | X | 0.0054 | J | 0.038 | JX | 0.00474 | J | 0.00341 | J | 0.00342 | J | 0.00552 |  | 0.00397 | J | 0.00258 | J | 0.00364 | J | 0.00796 |  | 0.00404 | J | 0.0121 |  | 0.00243 | J |  |  | 0.00700 |  | 0.00712 |  | 0.00231 | J | 0.00888 |  |  | U |  | U
Barium | mg/L | 7440-39-3 | 32 | 36 | 24 | M |  | 2 | 1.0 | 0.024 | v | 0.021 | v | 0.087 | v | 0.17 |  | 0.0557 |  | 0.0386 |  | 0.0118 |  | 0.0276 |  | 0.0224 |  | 0.0225 |  | 0.0241 |  | 0.0613 |  | 0.0355 |  | 0.102 |  | 0.00643 | J |  |  | 0.0736 |  | 0.0736 |  | 0.0294 |  | 0.0606 |  | 0.0105 |  | 0.0246
Beryllium |  | 7440-41-7 | 166 | 37 | 24 | M | [40 empty] | U |  | U |  | U |  | U
Boron | mg/L |  | 33 | 38 | 24 | M |  |  | 0.75 | 4 | v | 3.8 | v | 2.5 | v | 6 |  | 2.63 |  | 1.21 |  | 1.48 |  | 3.11 |  | 1.60 |  | 1.64 |  | 1.65 |  | 2.82 |  | 2.06 |  | 5.25 |  | 1.99 |  |  |  | 5.27 |  | 5.27 |  | 2.25 |  | 2.05 |  | 1.04 |  | 1.63
Cadmium | mg/L | 7440-43-9 | 34 | 39 | 24 | M |  | 0.005 | 0.01 |  | u |  | u |  | u |  | u |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  | U |  | U |  | U |  | U |  | U
Calcium | mg/L |  | 35 | 40 |  | M
Chromium | mg/L | 7440-47-3 | 36 | 41 | 24 | M |  | 0.1 | 0.05 |  | u |  | u | 0.0021 | J | 0.016 | J |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  | U |  | U |  | U |  | U |  | U
Cobalt | mg/L |  | 37 | 42 | 24 | M |  |  | 0.05 | 0.0048 | J | 0.0082 | J | 0.0062 | v | 0.014 | J |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  | U |  | U |  | U |  | U |  | U
Copper | mg/L |  | 38 | 43 | 24 | M |  | 1.3/1.0 | 1.0 | 0.14 | v |  | u |  | u |  | u |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  | 0.0184 |  | 0.0170 |  | 0.00708 | J | 0.00873 | J |  | U |  | U
Iron (Dissolved) | mg/L |  | 39 | 44 | 24 | M |  | 0.3 | 1.0 | 0.027 | v | 0.027 | v | 0.0097 | J |  | u |  | U |  | U | 0.0304 | J |  | U |  | U | 0.0807 | J |  | U |  | U |  | U | 0.0375 | J | 0.142 |  |  |  | 0.0737 | J | 0.0542 | J |  | U | 0.0522 | J |  | U |  | U
Iron (Total) | mg/L |  | 40 | 45 | 24 | M |  | 0.3 | 1.0
Lead | mg/L | 7439-92-1 | 41 | 46 | 24 | M |  | 0.015 | 0.05 |  | u |  | u |  | u |  | u |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U | 0.000463 | J | 0.000330 | J |  |  | 0.00319 |  | 0.00168 |  |  | U | 0.000654 | J |  | U |  | U
Magnesium | mg/L |  | 42 | 47 |  | M
Manganese (Dissolved) | mg/L |  | 43 | 48 | 24 | M |  | 0.05 | 0.2 | 0.058 | X | 0.055 | X | 0.047 | v | 0.13 | X | 0.0306 |  | 0.0338 |  | 0.0199 |  | 0.0485 |  | 0.00562 | J | 0.0326 |  | 0.0145 |  | 0.0445 |  | 0.0277 |  | 0.0869 |  | 0.0743 |  |  |  | 0.00858 | J | 0.00658 | J |  | U | 0.0215 |  | 0.00453 | J | 0.00397 | J
Manganese (Total) | mg/L |  | 44 | 49 | 24 | M |  | 0.05 | 0.2
Mercury | mg/L | 7439-97-6 | 45 | 50 | 24 | M |  | 0.002 | 0.002 | 4.6e-05 | J |  | u |  | u |  | u |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  | U |  | U |  | U |  | U |  | U
Molybdenum | mg/L |  | 46 | 51 | 24 | M |  |  | 1.0 | 0.019 | J | 0.012 | J |  | u |  | u | 0.0189 |  | 0.0263 |  | 0.0167 |  | 0.0105 |  | 0.00610 |  | 0.00471 | J | 0.00570 |  | 0.0144 |  | 0.00649 |  | 0.0171 |  | 0.0473 |  |  |  | 0.0613 |  | 0.0938 |  | 0.0284 |  | 0.0290 |  | 0.00834 |  | 0.0195
Nickel | mg/L |  | 47 | 52 | 24 | M |  |  | 0.2 |  | u |  | u | 0.0052 | J | 0.015 | J |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U | 0.00318 | J |  | U |  |  | 0.00646 | J | 0.00708 | J |  | U |  | U |  | U |  | U
Potassium | mg/L |  | 48 | 53 |  | M
Selenium | mg/L | 7782-49-2 | 49 | 54 | 24 | M |  | 0.05 | 0.05 | 0.028 | v | 0.03 | v | 0.014 | J | 0.056 | JX |  | U |  | U | 0.00202 | J | 0.00563 |  | 0.00525 |  | 0.00408 | J | 0.00504 |  | 0.0113 |  | 0.00323 | J | 0.00803 |  |  | U |  |  | 0.00396 | J | 0.0111 |  | 0.00952 |  | 0.00296 | J |  | U |  | U
Silicon Dioxide | mg/L |  | 50 | 55 |  | M
Silver | mg/L | 7440-224 | 51 | 56 | 24 | M |  | 0.1 | 0.05 |  | u |  | u | 0.05 | J |  | u |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  | U |  | U |  | U |  | U |  | U
Sodium | mg/L |  | 52 | 57 |  | M
Strontium | mg/L |  | 53 | 58 |  | M
Thallium | mg/L | 7440-28-0 | 162 | 59 | 24 | M | [24 empty] | U |  |  |  | U |  |  |  | U |  |  |  | U |  | U |  | U |  | U |  | U |  | U
Uranium | mg/L | 7440-61-1 | 54 | 60 | 24 | M |  | 0.03 | 0.03 | 0.011 | J | 0.015 | v | 0.013 | v | 0.015 | J | 0.00769 | JN | 0.00654 | JN | 0.0129 | N | 0.0130 | JN | 0.00678 | JN | 0.00851 | JN | 0.0138 | N | 0.00417 | JN | 0.00760 | JN | 0.00957 | JN | 0.0420 | N |  |  | 0.0259 | N | 0.0316 | N | 0.0253 | N | 0.00568 | JN | 0.00430 | JN | 0.00829 | JN
Zinc | mg/L |  | 55 | 61 | 24 | M |  | 5 | 10.0 | 0.034 | J | 0.019 | J | 0.018 | v | 0.03 | J | 0.0184 |  |  | U |  | U | 0.00220 | J |  | U | 0.0127 |  | 0.00432 | J | 0.00749 |  | 0.00398 | J | 0.0198 |  | 0.00334 | J |  |  | 0.0161 |  | 0.0183 |  | 0.00788 |  | 0.0121 |  | 0.00464 | J | 0.00606
Radiology |  |  | 56 | 62
Gross Alpha | pCi/L |  | 57 | 63 |  | R | EPA 900/9310 | 15 | [21 empty] | 83.3 |  |  |  | 21.2 |  |  |  | 8.09 |  |  |  | 83.9 | J | [5 empty] | U |  |  | 40.3 | J
Gross Alpha precision (±) | pCi/L |  | 58 | 64 |  | R | [23 empty] | 14.0 |  |  |  | 32.7 |  |  |  | 17.5 |  |  |  | 126 | [5 empty] | 55.3 | J |  |  | 62.4 | J
Radium-226 | pCi/L | 13982-63-3 | 59 | 65 |  | R | SM7500 Ra B M | 5 | 30 (Radium 226 and 228) | [20 empty] | 0.509
Radium-226 ± | pCi/L |  | 60 | 66 |  | R | [23 empty] | 0.405
Radium-228 | pCi/L | 15262-20-1 | 61 | 67 |  | R | EPA 904 | 5 | 30 (Radium 226 and 228) | [20 empty] | 0.583
Radium-228 ± | pCi/L |  | 62 | 68 |  | R | [23 empty] | 0.430
Radon | pCi/L |  | 163 | 69 |  | R | EPA 900/9310 | [22 empty] | 565
Radon ± | pCi/L |  | 164 | 70 |  | R | [23 empty] | 17
Organics |  |  | 63 | 71
Organic Carbon, Total | mg/L |  | 64 | 72 |  | O | SM5310C | [6 empty] | 56 | p
VOCs |  |  | 65 | 73
Benzene | µg/L | 71-43-2 | 66 | 74 |  | O | SW8260C | 5 | 10 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  |  | U | [5 empty] | U
Bromodichloromethane | µg/L |  | 67 | 75 |  | O |  |  |  |  | u |  |  |  | u
Bromoform | µg/L |  | 68 | 76 |  | O |  |  |  |  | u |  |  |  | u
Bromomethane | µg/L |  | 69 | 77 |  | O |  |  |  | 2.5 | J |  |  |  | u
Carbon Tetrachloride | µg/L | 56-23-5 | 70 | 78 |  | O | SW8270D | 5 | 10 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  |  | U | [5 empty] | U
Chlorobenzene | µg/L |  | 71 | 79 |  | O |  | 100 |  | 1.2 | J |  |  |  | u
Chloroethane | µg/L |  | 72 | 80 |  | O |  |  |  |  | u |  |  |  | u
2-Chloroethyl-vinyl ether | µg/L |  | 73 | 81 |  | O |  |  |  |  | u |  |  |  | u
Chloroform | µg/L | 67-66-3 | 74 | 82 |  | O | SW8270D |  | 100 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  |  | U | [5 empty] | U
cis-1,2-DCE | µg/L | 156-59-2 | 75 | 83 |  | O |  | 70 |  |  | u |  |  |  | u
cis-1,3-Dichloropropene | µg/L |  | 76 | 84 |  | O |  |  |  |  | u |  |  |  | u
Dibromochloromethane | µg/L |  | 77 | 85 |  | O |  |  |  |  | u |  |  |  | u
1,2-Dichlorobenzene | µg/L | 95-50-1 | 78 | 86 |  | O |  | 600 |  |  | u |  |  |  | u
1,3-Dichlorobenzene | µg/L |  | 79 | 87 |  | O |  |  |  |  | u |  |  |  | u
1,4-Dichlorobenzene | µg/L | 106-46-7 | 80 | 88 |  | O |  | 75 |  |  | u |  |  |  | u
1,1-dichloroethane | µg/L | 75-34-3 | 81 | 89 |  | O | SW8270D |  | 25 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  |  | U | [5 empty] | U
1,2-dichloroethane (EDC) | µg/L | 107-06-2 | 82 | 90 |  | O | SW8270D | 5 | 10 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  |  | U | [5 empty] | U
1,1-dichloroethylene (1,1-DCE) 2 | µg/L | 75-35-4 | 83 | 91 |  | O | SW8270D | 7 | 5 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  |  | U | [5 empty] | U
1,2-Dichloropropane | µg/L | 78-87-5 | 84 | 92 |  | O |  | 5 |  |  | u |  |  |  | u
1,4-dioxane1 | µg/L |  | 161 | 93 |  | O | SW8260C | [23 empty] | NU | [13 empty] | NU |  |  | 0.0570 | N
Ethylbenzene | µg/L | 100-41-4 | 85 | 94 |  | O | SW8270D | 700 | 750 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  |  | U | [5 empty] | U
Methylene Chloride (DCM) | µg/L | 75-09-2 | 86 | 95 |  | O | SW8270D | 5 | 100 | 1.1 | J |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  |  | U | [5 empty] | U
1,1,2,2-tetrachloroethane | µg/L | 79-34-5 | 87 | 96 |  | O | SW8270D |  | 10 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  |  | U | [5 empty] | U
1,1,2,2-tetrachloroethylene (PCE) 3 | µg/L | 127-18-4 | 88 | 97 |  | O | SW8270D |  | 20 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  |  | U | [5 empty] | U
Toluene | µg/L | 108-88-3 | 89 | 98 |  | O | SW8270D | 1000 | 750 | 0.97 | J |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  |  | U | [5 empty] | U
Total Xylenes | µg/L | 1330-20-7 | 90 | 99 |  | O | SW8270D | 10000 | 620 | 1.8 | J |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  |  | U | [5 empty] | U
trans-1,2-Dichloroethene | µg/L | 156-60-5 | 91 | 100 |  | O |  | 100 |  | 0.16 | J |  |  |  | u
trans-1,3-Dichloropropene | µg/L |  | 92 | 101 |  | O |  |  |  |  | u |  |  |  | u
1,2,4-trichlorobenzene |  | 120-82-1 | 168 | 102 | 25 | O | [42 empty] | U |  |  |  | U
1,1,1-trichloroethane | µg/L | 71-55-6 | 93 | 103 |  | O | SW8270D | 200 | 60 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  |  | U | [5 empty] | U
1,1,2-trichloroethane | µg/L | 79-00-5 | 94 | 104 |  | O | SW8270D | 5 | 10 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  |  | U | [5 empty] | U
1,1,2-trichloroethylene (TCE) 4 | µg/L | 79-01-6 | 95 | 105 |  | O | SW8270D | 5 | 100 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  |  | U | [5 empty] | U
Styrene |  | 100-42-5 | 167 | 106 | 25 | O | [42 empty] | U |  |  |  | U
Trichlorofluoromethane | µg/L |  | 96 | 107 |  | O |  |  |  |  | u |  |  |  | u
Vinyl Chloride | µg/L | 75-01-4 | 97 | 108 |  | O | SW8270D | 2 | 1 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  |  | U | [5 empty] | U
Acrolein | µg/L |  | 98 | 109 |  | O |  |  |  |  | u |  |  |  | u
Acrylonitrile | µg/L |  | 99 | 110 |  | O |  |  |  |  | u |  |  |  | u
Volatiles |  |  | 100 | 111
Ethylene Dibromide (EDB) 5 | µg/L | 106-93-4 | 101 | 112 |  | O | SW8270D | 0.05 | 0.1 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  |  | U | [5 empty] | U
Phenolics |  |  | 102 | 113
Phenols | µg/L |  | 103 | 114 |  | O | SW8270E |  | 5 |  | u |  |  |  | u |  |  |  | NU |  | NU |  | NU |  | NU |  | NU |  | NU |  | NU |  |  |  | NU |  |  |  | NU |  |  |  | NU | [5 empty] | NU
Parent Acetanilides |  |  | 104 | 115
PAHs: total naphthalene plus monomethylnaphthalenes | µg/L | 91-20-3 | 105 | 116 |  | O | SW8270D-LL |  | 30
1-Methylnaphthalene | µg/L |  | 106 | 117 |  | O | SW8270D-LL |  |  |  | u |  |  |  | u |  |  |  | NU |  | NU |  | NU |  | NU |  | NU |  | NU |  | NU |  |  |  | NU |  |  |  | NU |  |  |  | NU | [5 empty] | NU
2-Methylnaphthalene | µg/L |  | 107 | 118 |  | O | SW8270D-LL |  |  |  | u |  |  |  | u |  |  | 3.84e-05 | J |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  |  | U | [5 empty] | U
Naphthalene | µg/L |  | 108 | 119 |  | O | SW8270D-LL |  |  |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  |  | U | [5 empty] | U
Benzo-a-pyrene | µg/L | 50-32-8 | 109 | 120 |  | O | SW8270E | 0.2 | .7 |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  |  | U | [5 empty] | U
Synthetic Organics |  |  | 110 | 121
Di(2-Ethylhexyl)adipate | µg/L |  | 111 | 122 |  | O |  | 400
Hexachlorocyclopentadiene | µg/L |  | 112 | 123 |  | O |  | 50 | [6 empty] | u
Atrazine | µg/L | 1912-24-9 | 113 | 124 |  | O | SW8270E | 3 | [22 empty] | U |  |  |  | U |  |  |  | U |  |  |  | U | [5 empty] | U
Alachlor | µg/L |  | 114 | 125 |  | O |  | 2
Hexachlorobenzene | µg/L |  | 115 | 126 |  | O |  | 1 | [6 empty] | u
Di(2-ethylhexyl)phthalate | ug/l |  | 116 | 127 |  | O |  | 6
Simazine | µg/L |  | 117 | 128 |  | O |  | 4
Pesticides and PCBs |  |  | 118 | 129
4,4´-DDD | µg/L |  | 119 | 130 |  | O |  |  |  |  | u |  |  |  | u
4,4´-DDE | µg/L |  | 120 | 131 |  | O |  |  |  |  | u |  |  |  | u
4,4´-DDT | µg/L |  | 121 | 132 |  | O |  |  |  |  | u |  |  |  | u
Aldrin | µg/L |  | 122 | 133 |  | O |  |  |  |  | u |  |  |  | u
alpha-BHC | µg/L |  | 123 | 134 |  | O |  |  |  |  | u |  |  |  | u
Polychlorinated biphenyls (PCBs) | µg/L | 1336-36-3 | 124 | 135 |  | O | SW8270E | 0.5 | 1 |  | u |  |  |  | u |  |  |  | NU |  | NU |  | NU |  | NU |  | NU |  | NU |  | NU |  |  |  | U |  |  |  | U |  |  |  | U | [5 empty] | U
Aroclor 1016 | µg/L |  | 125 | 136 |  | O | SW8270E |  |  |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  |  | U | [5 empty] | U
Aroclor 1221 | µg/L |  | 126 | 137 |  | O | SW8270E |  |  |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  |  | U | [5 empty] | U
Aroclor 1232 | µg/L |  | 127 | 138 |  | O | SW8270E |  |  |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  |  | U | [5 empty] | U
Aroclor 1242 | µg/L |  | 128 | 139 |  | O | SW8270E |  |  |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  |  | U | [5 empty] | U
Aroclor 1248 | µg/L |  | 129 | 140 |  | O | SW8270E |  |  |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  |  | U | [5 empty] | U
Aroclor 1254 | µg/L |  | 130 | 141 |  | O | SW8270E |  |  |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  |  | U | [5 empty] | U
Aroclor 1260 | µg/L |  | 131 | 142 |  | O | SW8270E |  |  |  | u |  |  |  | u |  |  |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  |  |  | U |  |  |  | U |  |  |  | U | [5 empty] | U
beta-BHC | µg/L |  | 132 | 143 |  | O |  |  |  |  | u |  |  |  | u
Chlordane | µg/L |  | 133 | 144 |  | O |  | 2 |  |  | u |  |  |  | u
delta-BHC | µg/L |  | 134 | 145 |  | O |  |  |  |  | u |  |  |  | u
Dieldrin | µg/L |  | 135 | 146 |  | O |  |  |  |  | u |  |  |  | u
Endosulfan I | µg/L |  | 136 | 147 |  | O |  |  |  |  | u |  |  |  | u
Endosulfan II | µg/L |  | 137 | 148 |  | O |  |  |  |  | u |  |  |  | u
Endosulfan sulfate | µg/L |  | 138 | 149 |  | O |  |  |  |  | u |  |  |  | u
Endrin | µg/L |  | 139 | 150 |  | O |  | 2 |  |  | u |  |  |  | u
Endrin aldehyde | µg/L |  | 140 | 151 |  | O |  |  |  |  | u |  |  |  | u
Endrin Ketone | µg/L |  | 141 | 152 |  | O |  |  |  |  | u |  |  |  | u
gamma-BHC | µg/L |  | 142 | 153 |  | O |  | 0.2 |  |  | u |  |  |  | u
Heptachlor | µg/L |  | 143 | 154 |  | O |  | 0.4 |  |  | u |  |  |  | u
Heptachlor epoxide | µg/L |  | 144 | 155 |  | O |  | 0.2 |  |  | u |  |  |  | u
Methoxychlor | µg/L |  | 145 | 156 |  | O |  | 40 |  |  | u |  |  |  | u
Toxaphene | µg/L |  | 146 | 157 |  | O |  | 3 |  |  | u |  |  |  | u
Perfluorohexanoic Acid (PFHxA) | µg/L |  | 147 | 158 |  | P | 537 mod | [22 empty] | 0.0180 | N
Perfluoroheptanoic Acid (PFHpA) | µg/L |  | 148 | 159 |  | P | 537 mod | [22 empty] | 0.0250 | N
Perfluorooctanoic Acid (PFOA) | µg/L |  | 149 | 160 | 25 | P | 537 mod | [22 empty] | 0.350 | N |  |  |  |  | 1.60 | N | 0.610 | N |  |  | 0.300 | N | 0.0850 | N | 0.0500 | N | 0.400 | N | 0.0650 | N | 0.0990 | N
Perfluorononanoic Acid (PFNA) | µg/L |  | 150 | 161 |  | P | [24 empty] | NU
Perfluorodecanoic Acid (PFDA) | µg/L |  | 151 | 162 |  | P | [24 empty] | NU
Perfluoroundecanoic Acid (PFUnA) | µg/L |  | 152 | 163 |  | P | [24 empty] | NU
Perfluorododecanoic Acid (PFDoA) | µg/L |  | 153 | 164 |  | P | [24 empty] | NU
Perfluorotridecanoic Acid (PFTrDA) | µg/L |  | 154 | 165 |  | P | [24 empty] | NU
Perfluorotetradecanoic Acid (PFTA) | µg/L |  | 155 | 166 |  | P | [24 empty] | NU
Perfluorobutanesulfonic Acid (PFBS) | µg/L |  | 156 | 167 |  | P | 537 mod | [22 empty] | 0.00900 | N
Perfluorohexanesulfonic Acid (PFHxS) | µg/L |  | 157 | 168 | 25 | P | 537 mod | [22 empty] | 0.0800 | N | [6 empty] | 0.0950 | N |  |  | 0.0300 | N | 0.0130 | N | 0.0120 | N | 0.0380 | N | 0.0150 | N | 0.0250 | N
Perfluorooctanesulfonic Acid (PFOS) | µg/L |  | 158 | 169 | 25 | P | 537 mod | [22 empty] | 0.0360 | N |  |  |  |  | 0.0500 | N | 0.0570 | N |  |  | 0.0440 | N | 0.0280 | N | 0.0230 | NH | 0.200 | N | 0.0230 | N | 0.0280 | N
Perfluorononanoic acid |  |  | 171 | 170 |  | P | [46 empty] | NU
Perfluorobutanesulfonic acid |  |  | 172 | 171 |  | P | [45 empty] | 0.00550 | N
Hexafluoropropylene oxide dimer acid |  |  | 173 | 172 |  | P | [46 empty] | NU
N-methyl perfluorooctane-sulfonamidoacetic Acid (NMeFOSAA) | µg/L |  | 159 | 173 |  | P | [24 empty] | NU
N-ethyl perfluorooctane-sulfonamidoacetic Acid (NEtFOSAA) | µg/L |  | 160 | 174 |  | P | [24 empty] | NU
Nomenclature:
u or U = concentration not detected at reporting limit
J = analyte detected below quantification limit
v = verified concentration
Z = Not Defined, or Zero
H = Holding times for preparation or analysis exceeded
X = Value exceeds maximum contaminant level
E = Value above quantitation range
# = Nitrate sample arrived at lab past holding time. Value from Nitrate+Nitrite analysis were substituted for Nitrate values because Nitrite was expected to be below detection.
N = Parameter not NELAC certified.
C = Sample result or QC discussed in the case narrative.
Footnotes:
1The Dissolved Oxygen analyses were performed by the staff of the Brackish Groundwater National Desalination Research Facility using a government-owned test kit and following the recommended procedures provided by Tetra Tech. Test results are included in this report.
2 1,1-Dichloroethene (International Union of Pure and Applied Chemistry (IUPAC) nomenclature)
3 Tetrachloroethene (International Union of Pure and Applied Chemistry (IUPAC) nomenclature)
4 Trichloroethene (International Union of Pure and Applied Chemistry (IUPAC) nomenclature)
5 1,2-Dibromoethane (International Union of Pure and Applied Chemistry (IUPAC) nomenclature)
6 NPDWS: National Primary Drinking Water Standards. NSDWS: National Secondary Drinking Water Standards. MCL: Maximum Contaminant Level
7 NPDWS states that for systems that use conventional or direct filtration, at no time can turbidity go above 1 NTU, and samples for turbidity must be less than or equal to 0.3 NTU in at least 95% of samples per month. Systems that use filtration other than conventional or direct filtration must follow state limits, which must include turbidity at no time exceeding 5 NTU.
8 New Mexico Administrate Code (NMAC) 20.6.2.3103 for ground water of 10,000 mg/l TDS or less.
Notes:
1. Analytes which were not requested and not analyzed for the sampling date are highlighted in dark gray.
2. Analyte concentrations exceeding NPDWS and NSDWS standards are underlined and in red font.
3. Analyte concentrations exceeding NMAC 20.6.2.3103 standards are highlighted in yellow.
4. Data from 3/15/2011 to 11/18/2013 obtained from Hall Environmental Analysis Laboratory in Albuquerque, New Mexico.
5. Data from 12/1/2015 and following obtained from DHL Analytical in Round Rock, Texas.
Notes Regarding Langelier Saturation Index (LSI):
1. The Langelier Saturation Index (sometimes Langelier Stability Index) is a calculated number used to predict the calcium carbonate stability of water. It indicates whether the water will precipitate, dissolve, or be in equilibrium with calcium carbonate. In 1936, Wilfred Langelier developed a method for predicting the pH at which water is saturated in calcium carbonate (called pHs). The LSI is expressed as the difference between the actual system pH and the saturation pH:
LSI = pH (measured) - pHs
For LSI > 0, water is super saturated and tends to precipitate a scale layer of CaCO3.
For LSI = 0, water is saturated (in equilibrium) with CaCO3. A scale layer of CaCO3 is neither precipitated nor dissolved.
For LSI < 0, water is under saturated and tends to dissolve solid CaCO3.
2. If the actual pH of the water is below the calculated saturation pH, the LSI is negative and the water has a very limited scaling potential. If the actual pH exceeds pHs, the LSI is positive, and being supersaturated with CaCO3, the water has a tendency to form scale. At increasing positive index values, the scaling potential increases.
3. In practice, water with an LSI between -0.5 and +0.5 will not display enhanced mineral dissolving or scale forming properties. Water with an LSI below -0.5 tends to exhibit noticeably increased dissolving abilities while water with an LSI above +0.5 tends to exhibit noticeably increased scale forming properties.
4. It is also worth noting that the LSI is temperature sensitive. The LSI becomes more positive as the water temperature increases. This has particular implications in situations where well water is used. The temperature of the water when it first exits the well is often significantly lower than the temperature inside the building served by the well or at the laboratory where the LSI measurement is made. This increase in temperature can cause scaling, especially in cases such as hot water heaters. Conversely, systems that reduce water temperature will have less scaling.
Note on H4: Cappelle, Malynda Aragon: need to figure out whether these are correct.